## Worksheet 1
Error source | Parameter | Estimated uncertainty | Evaluation method – reference
| uncertainty | on HCHO SCD
Measurement noise | S∕N = 800–1000 | 1 × 1016 molec cm−2 | Value derived for individual
|  | (random) | observations by uncertainty propagation
(De Smedt et al., 2015)
HCHO cross-section error | Based on alternative | 9 % | Mean values derived from
| cross-section datasets, |  | sensitivity tests using
O3 cross-section error | offset and polynomial orders | 5 % | GOME-2 and OMI data.
BrO cross-section error |  | 5 % | (De Smedt et al., 2008, 2015;
NO2 cross-section error |  | 3 % | Hewson et al., 2013;
O4 cross-section error |  | 2 % | Pinardi et al., 2013)
Ring correction error |  | 5 %
Choice of offset order |  | 7 %
Choice of polynomial order |  | 7 %
Instrumental slit function and | Based on alternative | 10 % | Mean value derived from sensitivity
wavelength calibration | calibrations |  | tests using GOME-2 and OMI data
Choice of wavelength | Based on alternative | 10 % | Mean value derived from sensitivity
interval | wavelength intervals |  | tests using GOME-2 and OMI data
(Hewson et al., 2013)
Temperature dependence | 0.05 % ∘ K−1 | 2 % | Mean value derived from
of the HCHO XS |  |  | sensitivity tests based on
Meller and Moorgat (2000)