## Worksheet 1
QASUME | Standard | Correlation fraction
Source of uncertainty | uncertainty | Full | Unfavourable | Random
in measured E(λ) | %
Radiometric calibration | 0.55 | 1/3 | 1/3 | 1/3
250 W lamp stability | 0.14 | 1 | 0 | 0
Non-linearity | 0.25 | 0 | 1 | 0
Stability | 0.6 | 1 | 0 | 0
Temperature dependence | 0.2 | 1 | 0 | 0
Measurement noise | 0.2 | 0 | 0 | 1
Wavelength shift | 0.1 | 0 | 1 | 0
Combined uncertainty (k=1) | 0.91 % | 0.72 % | 0.42 % | 0.38 %