## Worksheet 1
BTS | Standard | Correlation fraction
Source of uncertainty | uncertainty | Full | Unfavourable | Random
in measured E(λ) | %
Radiometric calibration | 0.8 | 1/3 | 1/3 | 1/3
250 W lamp stability | 0.2 | 1 | 0 | 0
Non-linearity | 0.4 | 0 | 1 | 0
Stability | 0.8 | 1 | 0 | 0
Temperature dependence | 0.1 | 1 | 0 | 0
Measurement noise | 0.2 | 0 | 0 | 1
Wavelength shift | 0.1 | 0 | 1 | 0
Combined uncertainty (k=1) | 1.24 % | 0.95 % | 0.62 % | 0.50 %