## Worksheet 1
AVODOR | Standard | Correlation fraction
Source of uncertainty | uncertainty | Full | Unfavourable | Random
in measured E(λ) | %
Radiometric calibration | 2.5 | 1/2 | 1/2 | 1/2
250 W lamp stability | 0.14 | 1 | 0 | 0
Non-linearity | 0.5 | 0 | 1 | 0
Stability | 0.6 | 1 | 0 | 0
Temperature dependence | 0.2 | 1 | 0 | 0
Measurement noise | 1.3 | 0 | 0 | 1
Wavelength shift | 0.1 | 0 | 1 | 0
Combined uncertainty (k=1) | 2.94 % | 1.41 % | 1.35 % | 2.19 %