## Worksheet 1
OH reactant | OH reactivity (kOH) | Normalized scaling rate | Measured zero | Wall loss rate
| used for calibration | srCIMS±1σ (s−1) | ln([OH]T1 ∕ [OH]T2) ±1σ | kw±1σ (s−1)
Jülich SAPHIR chamber (April 2016)
Propane, 6 Apr 2016 | External flow tube | 9.6±0.2 | 0.97±0.02 | 9.3±0.3
CO, 7 Apr 2016 | Chamber concentration | 9.4±0.1 | 0.95±0.03 | 8.9±0.3
measurements
Pentane, 8 Apr 2016 | FZJ LIF kOH measurements | 9.1±0.1 | 0.89±0.05 | 8.1±0.5
Monoterpenesa, 13 Apr 2016 | FZJ LIF kOH measurements | 8.8±0.1 | 0.92±0.11 | 8.1±1.0
CO, 15 Apr 2016 | Chamber concentration | 8.7±0.1 | 0.95±0.06 | 8.3±0.5
measurements
Jülich mean ±1σb |  | 9.1±0.4 | 0.94±0.03 | 8.6±0.5
MOHP (July–December 2016)
Propane, 18 Jul 2016 | External flow tube | 10.1±0.4 | 0.88±0.14 | 8.9±1.5
Propane, 12 Aug 2016 | External flow tube | 9.5±0.3 | 0.94±0.04 | 8.9±0.5
Propane, 18 Aug 2016 | External flow tube | 10.1±0.1 | 1.08±0.02 | 10.9±0.2
Propane, 24 Nov 2016 | External flow tube | 9.5±0.2 | 0.97±0.05 | 9.2±0.5
Propane, 7 Dec 2016 | External flow tube | 9.0±0.7 | 0.96±0.05 | 8.6±0.8
MOHp mean ±1σb |  | 9.7±0.5 | 0.97±0.07 | 9.4±0.8