## Worksheet 1
Deployment | Reference instrument | Calibration | Operator | Res.
Ozone
CAMP | Teledyne API 400E | quarterly cal./nightly quality checks | CDPHE | 1
Dawson | Thermo Electron 49 | before cal./after cal. check | INSTAAR | 5
BAOa | Thermo Scientific 49c | annual cal./monthly quality checks | NOAA | 60
Navajo Dam | Thermo Scientific 49i | quarterly cal./weekly quality checks | NM AQB | 1
Bloomfield | Thermo Scientific 49i | quarterly cal./weekly quality checks | NM AQB | 1
Sub Station | Thermo Scientific 49i | quarterly cal./weekly quality checks | NM AQB | 1
Ignacio | Thermo Scientific 49is | monthly cal./weekly quality checks | SUIT AQP | 1
Bondad | Thermo Scientific 49is | monthly cal./weekly quality checks | SUIT AQP | 1
Shiprock | Teledyne API T400 | quarterly cal./monthly quality checks | NEPA | 60
Fort Lewis | 2B Technologies 202 | factory cal./after cal. check | CU Boulder | 1
GRET | Teledyne API T400E | quarterly cal./nightly quality checks | CDPHE | 1
Carbon dioxide
BAO | Picarro G2401 |  | NOAA | 1
SJ Basin | LI-COR LI-840A | before + after cal.: zero precision span | CU Boulder | 1
GRET | Picarro G2508 | periodic zero stability checks | CSU | 1