## Worksheet 1
Sonde characteristics | RS41-SG radiosondes | S1H2 Windsond
Humidity
Sensor type | Thin film capacitor, integrated T-sensor, and heating functionality | Capacitive
Measurement range | 0 % RH–100 % RH | 0 % RH–100 % RH
Accuracy repeatability in calibration | 2.0 % RH | 2.0 % RH
Resolution | 0.1 % RH | 0.05 % RH
Combined uncertainty in sounding | 4 % RH | Not available (to be assessed)
Reproducibility in sounding | 2 % RH | Not available (to be assessed)
Response time (63.2 %, 6 m s−1 flow, 1000 hPa) | Heated sensor: | 5 s
Cold sensor: