## Worksheet 1
Chemical species | H2O | CH4 | C2H6 | CO2 | CO | N2O
Precision 1 s–1σ (within PBL) | 16.2 ppm | 740 ppt | 205 ppt | 460 ppb | 2.2 ppb | 439 ppt
Precision 1 s–1σ (above PBL) | 2.5 ppm | 300 ppt | 146 ppt | 182 ppb | 1.4 ppb | 208 ppt
Working standard reproducibility (1σ) | – | 0.03 ppb | – | 0.1 ppm | – | –
Compared instrument uncertainty (1σ) | – | – | 1.5 ppb | – | 5.0 ppb | 0.4 ppb
Measurement calibration (1σ) | – | 1.5 ppb | 0.5 ppb | 0.9 ppm | 4.4 ppb | 0.5 ppb
H2O correction (1σ) | – | 0.8 ppb | 0.1 ppb | 0.2 ppm | 0.2 ppb | 0.1 ppb
WMO compatibility goal | – | 2.0 ppb | – | 0.1 ppm | 2.0 ppb | 0.1 ppb
Total 1 s–1σ uncertainty | – | 1.85 ppb | 1.6 ppb | 1.0 ppm | 7.0 ppb | 0.8 ppb