## Worksheet 1
Name | Purpose | Location | Air measured | Parameter | Range of T (∘C), | Range of [CO2] in | Range of [CO2] in | Duration | Sensors
[5 empty] | and p (hPa) | ambient air (ppm) | cal. cylinders (ppm) | (days) | tested
PT1 | Correlation between | Laboratory | Calibration cylinders | T, p | 16 to 32 and 968.7 | not applicable | 420 to 450 | 3 | S1.1, S1.2,
| [CO2] and P, T | (Saclay) |  |  | to 1038.6 |  |  |  | S1.3
PT2 | Correlation between | PIT climate chamber | Calibration cylinders | T, p | −2 to 35 and 759.9 | not applicable | 420 to 450 | 5 | S2.1, S2,2,
| [CO2] and P, T | (Guyancourt) |  |  | to 1013.3 |  |  |  | S2.3
DA1 | Test calibration | Laboratory | Calibration cylinders | T, p, RH, {CO2} | 24 to 31 and 1009.2 | 417 to 575 | 330 to 1000 | 48 | S1.1, S1.2,
| frequency | (Saclay) | and dried ambient air | from CRDS | to 1023.4 |  |  |  | S1.3
WA2-1 | Test calibration | Field station | Ambient air | T, p, RH, {CO2} | 25 to 27 and 1012.2 | 389 to 508 | not applicable | 45 | S2.2, S2.3
| frequency | (Saclay) |  | from CRDS | to 1021.4
WA2-2 | Test calibration | Field station | Ambient air | T, p, RH, {CO2} | 29 to 31 and 0.993 | 393 to 521 | not applicable | 60 | S2.1
| frequency | (Jussieu) |  | from CRDS | to 1034.5