## Worksheet 1
Institute/instrument type | Spectral range | Spectral resolution (FWHM, | Spectral range per detector | Detector type/temperature | Integration time of | Reference
| (nm) | nm) | pixel (nm) |  | individual spectra (s)
BIRA/2-D scanning MAX-DOAS | 300–386 | 0.49 | 0.04 | 2-D back-illuminated CCD, 2048×512 pixels/−40 ∘C | 60 | Clémer et al. (2010)
IUP Bremen/2-D scanning MAX-DOAS | 308–376 | 0.43 | 0.05 | 2-D back-illuminated CCD, 1340×400 pixels/−35 ∘C | 20 | Peters et al. (2012)
IUP-Heidelberg/1-D scanning MAX-DOAS | 294–459 | 0.59 | 0.09 | AvaSpec-ULS 2048 pixels back-thinned Hamamatsu CCD S11071-1106/20 ∘C | 60 | Lampel et al. (2015)
MPIC/4-azimuth MAX-DOAS | 320–457 | 0.67 | 0.14 | 2-D back-illuminated CCD, 1024×255 Pixels/−30 ∘C | 10 s | Krautwurst (2010)