## Worksheet 1
Source | Description | Value
Calibration of T sensor uTcalib1 | Provided by the manufacturer | 0.3/3
Variation in temperature in calibration chamber uTcalib2 | Provided by the manufacturer | 0.13/3
Averaging (filtering) uSD(T) | Derived by Eq. (8) in Sect. 5.3, determined by using the standard deviation of the correction amount | Depending on the measurement
Albedo ualbedo(T) | 123¦Tcoralbedo=0.6 -Tcor(albedo=0.1)¦ | Depending on the measurement
Ventilation uventilation(T) | 13¦Tcor(v=asc+u(v) -Tcor(v=asc)¦u(v)=3.0 | Depending on the measurement
Correlated ucor(T) | uTcalib12+uTcalib22+ualbedo2(T)+uventilation2(T) | Depending on the measurement
Total u(T) | ucor2(T)+uSD2(T)