## Worksheet 1
| OMI QA4ECV (v 1.1) | TROPOMI | DW-DOAS
(this work)
Fitting window | 405–465 nm | 405–465 nm | 425–450 nm
Fitting method | Optical depth (linear) | Intensity (non-linear) | Optical depth (linear)
χ2 minimisation method | Levenberg–Marquardt | Optimal estimation | Not applicable
Level 1B uncertainty in χ2 | No | Yes | Not applicable
Selection reference spectrum | Annual mean (2005) | Daily solar reference | Same as reference product (annual
| solar reference |  | mean/daily solar reference)
Polynomial degree | 4 | 5 | 2
Intensity offset correction | Constant | No | No
Fitting parameters | O3, NO2, O2−O2, H2Ovap, | O3, NO2, O2−O2, | O3, NO2, O2−O2, H2Ovap,
| Ring, H2Oliq, Ioff, shift, | H2Ovap, H2Oliq, | Ring, H2Oliq (only TROPOMI)
| and stretch | shift
Treatment of Ring effect | Pseudo-absorber | Non-linear fit | Pseudo-absorber
Wavelength calibration (radiance) | Along with fit, 405–465 nm | Before fit, 405–465 nm | No
Temperature | 220 K | 221 K | Same as reference product
(220 K or 221 K)