## Worksheet 1
Instrumentation | Application
Atomizer | Generation of aerosol particles from a solution or suspension
Fluidized bed generator (TSI 3400A) | Generation of aerosol particles from a dry reservoir
Differential mobility particle sizer (DMPS) | Generation and counting of size-selected monodisperse aerosol particles
Hot-wire anemometer (Dantec Dynamics Inc.) | Measurement of flow velocity (mean and fluctuations) at various locations
(measurement uncertainty of about 3.0 %)
Cold-wire anemometer (Dantec Dynamics Inc.) | Measurement of temperature fluctuations at various locations
(standard deviation due to noise ≤10 mK)
Pt100 (1∕10 class B, DIN EN 60751) | Measurement of mean temperature at various locations
resistance thermometers | (accuracy of ±0.0300∘C+0.0005×T; reproducibility of ±0.01 K)
Dew-point mirror (DPM, MBW 973, | Measurement of mean dew-point temperature at various locations
MBW Calibration AG) | (accuracy of ≤±0.1 K; reproducibility of ≤±0.05 K)
Promo 2000 with welas 2300 aerosol spectrometer | Determination of cloud particle size and number at various locations
(Palas GmbH)