## Worksheet 1
| Technique | Method | Quoted (1σ) | Limitations | References
uncertainty
(I) | Water | See Sects. 3 and 4 | 10 %–30 % | Dependent on lamp, | Creasey et al. (2003),
| UV photolysis |  |  | photon flux | Heard and Pilling (2003),
|  |  |  | measurement, | Holland et al. (2003),
|  |  |  | and absorption | Ren et al. (2003),
Faloona et al. (2004),
Smith et al. (2006),
Martinez et al. (2010),
Mallik et al. (2018)
(II) | Pulsed N2−H2O | At low pressure (0.1 Torr); | 20 % | Requires NO | Dilecce et al. (2004),
| RF discharge | OH and NO produced |  | measurement | Verreycken and
|  | using a low-power RF |  | using stable | Bruggeman (2014)
|  | discharge. Concentrations |  | ambient air
|  | of NO and OH are |  | calibrations
closely linked.
(III) | Low-pressure | OH radical production by | 30 % | Stable ambient | Stevens et al. (1994)
| flow-tube RF | titration of H atoms |  | air calibrations
| discharge | with NO2. Known amount
of H atoms produced using
microwave discharge using
low-pressure flow tube.
(IV) | Continuously | In a CSTR, OH produced through | 24 %–36 % | Time intensive, | Hard et al. (1995, 2002),
| stirred tank | UV irradiation of humidified |  | systematic wall | Winiberg et al. (2015)
| reactor and decay | airflow with injection of |  | loss of OH
| of select | a specific hydrocarbon |  | in reactor
| hydrocarbons | (1,3,5-trimethylbenzene,
C9H12) and NO. More recent
studies have used cyclohexane,
n-pentane and iso-butene.
Concentrations of OH relate
to decay rate of the hydrocarbon.
(V) | Steady-state | A steady-state OH concentration | 42 % | Time-consuming, large | Heard and Pilling (2003),
| O3 alkene | produced from ozonolysis of |  | uncertainties | Dusanter et al., 2008)
|  | a known concentration |  | compared to
|  | of an alkene. |  | other methods
(VI) | Laser photolysis | Photolysis of O3 with | 40 %–50 % | Requires large | Tanner and Eisele (1995)
| of ozone | 284 nm light producing O(1D), |  | apparatus
which then reacts with H2O
producing OH.