## Worksheet 1
Parameter | Bourtanger Moor | Bavarian Forest
| (BOG) | (FOR)
Canopy height | 0.4 m | 20 m
Measurement height (from ground) | 2.5 m | 31 m
Displacement height | 0.268 m | 13.4 m
Tube length | 12 m | 48 m
Tube diameter (OD) | 6.4 mm | 6.4 mm
Flow rate | 2.0 L min−1 | 2.1 L min−1
Horizontal sensor separation | 5 cm | 32 cm
Vertical sensor separation (below the sonic anemometer) | 20 cm | 20 cm
Sonic path length | 15 cm | 15 cm
CLD analyzer response time (τr,a) | 0.3 s | 0.3 s
Acquisition frequency | 20 Hz | 10 Hz
Kinematic viscosity | 1.46×10-5 m2 s−1 | 1.46×10-5 m2 s−1
Schmidt number for NO | 0.87 | 0.87
Time delay | 2.5 s | 20 s