## Worksheet 1
Transfer function | Physical parameters
First-order filter
TFR(f)=11+2πτrf2 | response time τr; the THEO approach uses the analyzer response time τr, a
Sensor separation
TFs(f)=exp-9.9(fds/u)1.5 | wind speed u, effective lateral separation distance ds,
with ds=dsa¦sin (αd)¦ | measured separation distance dsa, angle between
the line joining the sensors and wind direction αd
Path-averaging anemometer
TFw(fp)=2πfp1+12exp-2πfp-31-exp-2πfp4πfp; | p1 sonic path length
fp=fp1u
Tube attenuation
TFt,lam(f)=exp-0.82ReScft2 | D diameter of tube, L length of tube, Sc Schmidt number,
with ft=f⋅(0.5DL)0.5/vt | Re Reynolds number, vt flow speed inside the tube
Phase-shift mismatch
TFΔR(f)≈cosarctan2πfτr-2πfτr | τr response time