## Worksheet 1
Manufacturer | MetOne | PurpleAir | Alphasense
Product | Neighborhood Particulate Monitor | PurpleAir II | OPC-N2
Abbreviation | NPM | PA-II | OPC
Measurement method | Forward light-scattering laser | Laser particle sensor | Optical particle counting
Other features | Includes PM2.5 cyclone andinlet heater. Provides estimatesof PM2.5 mass concentrationsusing calibrations that are user-modifiable. Interfaced withRAMP low-cost monitor nodes. | Includes a pair of Plantower PMS 5003 units, along with temperature and humidity sensors. Provides estimates of PM1, PM2.5, and PM10 mass concentrationsvia proprietary calibrations. In-terfaced with RAMP low-costmonitor nodes. | Detects particles in the 0.38to 17 µm range, converts par-ticle counts to PM1, PM2.5,and PM10 mass concentrationsvia proprietary calibrations. In-tegrated with ARISense low-cost monitor nodes.
Unit cost (approx.) | USD 2000 | USD 250 | USD 350 (not including housing)
Performance notes | Moderate correlation withregulatory-grade instruments inlaboratory and field testing. Requires cleaning and recalibration between deployments. | High correlation with regulatory-grade instruments, except at high humidity. Individual Plantowersensor malfunctions detectablevia comparison between the twointernal units. | Moderate correlation withregulatory-grade instrumentsin field conditions.
References | (AQ-SPEC, 2015; Malings et al., 2019b) | (AQ-SPEC, 2017; Malings et al., 2019b) | (AQ-SPEC, 2016; Crilley et al., 2018)