## Worksheet 1
Site | Instrument | Eryth. act. | Traceability | QASUME average offset; | Expanded uncertainty
diurnal change
SOD | Brewer Mk II no. 037 | 1987 | MIKES-Aalto | +1 % for wl>310 nm; ±2 % (2018)
HEL | Brewer Mk III no. 107 | 1987 | MIKES-Aalto | −1 %; ±2 %–2.5 % (2018)
UCC | Brewer Mk III no. 178 | 1987 | NIST via Kipp & Zonen | −3 to (−4)%; 9 %f (2004)
VDAa | Bentham DTMc300 | 1998 | NIST | −3 % NDACC comp. (2014) | 5.3 %g
DAVb | Bentham QASUMEII | 1998 | PTB |  | 1.7 %–2 %h
DBRc | Brewer Mk III no. 163 | 1998 | PTB | +1 %; 4.4 % (2019) | 3 %
AOS | Bentham DTMc300 | 1998 | PTB | −1 %; ±3 % (2019) | 4 % for wl>310 nmi
OHPd | Bentham DTMc300 | 1998 | NIST |  | 5.3 %g
ROMe | Brewer no. 067 | 1998 | NIST via IOS | 5 %; ±2 % (2012)
THE | Brewer Mk III no. 086 | 1998 | PTB |  | ±5 % (1σ uncertainty)j
IZA | Brewer no. 183 | 1998 | PTB via PMOD-WRC | ±3 % (2019)
OPA | Bentham DTMc300 | 1998 | NIST | −2 % (2013) | 5 %g
MEL | Bentham DTMc300 | 1998 | NIST |  | 5 %
PAL | SUV-100 | 1987 | NIST |  | 5.8 %k