## Worksheet 1
Subject | Requirements
(better than)
Absolute calibration accuracy | 2 %
Inter-band (spectral) calibration consistency | 1 %
Lifetime radiometric consistency | 1 %
Inter-view calibration consistency | 2 %
Pixel-to-pixel relative calibration | 0.1 %
consistency within any 10×10 pixel area
Knowledge of instrumental sensitivity | 10−3
to polarization
Signal-to-noise ratio (SNR) at channel | 200
reference radiance value