## Worksheet 1
| DOAS (this study) | GC-MS (Gong et al., 2018) | PTR-MS (Eerdekens et al., 2009) | CIMS (Leibrock et al., 2003)
Time resolution | 1 min | 30–60 min | 0.5–2 min | 1.65 s
Accuracy (correlation with GC-MS/GC) | R=0.85 | R>0.99 (with offline) | R=0.95 | R=0.78
Detection limit | 10 ppt | 4 ppt | 100 ppt
Platform | Stationary/conditional mobile | Stationary/mobile | Stationary/mobile | Stationary/mobile
Advantages | No sampling Easy operation Simple instrument | High precision Accurate quantification | Fast responses High precision | High time resolution Good sensitivity
Disadvantages | Impacted by weather conditions Impacted of interferences | Time-consuming Calibration needed Difficult operation and maintenance | Molecule or fragment ion of the same mass cannot be differentiated | Interference of unidentified components Expensive equipment