## Worksheet 1
Parameter | Value
Fitting window | 438–487 nm
Wavelength calibration | Based on reference solar atlas (Chance and Kurucz, 2010)
Zenith reference | Scan
Polynomial order | 5
Intensity offset | Order 2
Shift | The measured spectra and ring were allowed to shift and stretch (order 1) in wavelength.
Molecule | Cross section
O4 | 293 K (Thalman and Volkamer, 2013)
NO2 | 298 K (Vandaele et al., 1998)
O3_a | 273 K (Serdyuchenko et al., 2014)
O3_b | 223 K (Serdyuchenko et al., 2014)
H2O | 296 K (Rothman et al., 2010)
Glyoxal | 296 K (Volkamer et al., 2005)
Ring_a | Calculated by QDOAS
Ring_b | Ring_a spectrum multiplied by λ−4