## Worksheet 1
Date (dd.mm.yyyy) | Dobson instruments | Comment
12.07.2010 | D051, D062, D101 | 12.–16.07.2010 intercomparison (reference D074 of SOO-HK)
21.03.2011 | D051 | 21.–31.03.2011 new electronics (Payerne)
01.05.2011 |  | New station manager–operator (W. Siegrist)
13.10.2011 | D062 | New photomultiplier amplifier board
18.01.2012 | D051 | 18.01.–15.02.2012 workshop Payerne (automation)
13.03.2012 | D062 | 13.03.–11.04.2012 workshop Payerne (automation)
16.07.2012 | D051, D062, D101 | 16.–27.07.2012 intercomparison (reference D064 of MOHp)
15.11.2012 | D062 | Change of sun-director prism (R-values shift by ∼ 5 units)
04.03.2013 | D051 | Begin of total ozone measurements
09.11.2013 | D101 | 09.11.2013–18.05.2014 workshop Payerne (automation)
18.05.2014 | D051, D101 | Double container as new Dobson housing
03.07.2014 | D101 | Restart with automated system
21.07.2014 | D051 | New amplifier board (discontinuity in standard lamp correction)
02.2015 | D051, D062 | New quartz dome
07.2015 | D051, D062, D101 | New azimuth control of the turntables + D101 new quartz dome