## Worksheet 1
Gases | AMICA setup | Standard composition or preparation procedure
(as in Table 3)
CO2, | I | bottled standard (50 dm3, 200 bar), Air Products, Composition: 5000 ppm (±0.5 % rel.) CO2,
CO |  | 5 ppm (±1 % rel.) CO, 5 ppm (±1 % rel.) N2O, 25 ppm (±0.5 % rel.) CH4 in N2,
Dilution: N2 6.0 (99.9999 % purity) with mass flow controllers (MFCs) (Natec MC-10SLPM-D
and MC-50SLPM-D, accuracy
OCS | I | permeation device (emitting 26.1±0.1 ng min−1, determined by regular weighing) held in Sulfinert-treated
flow chamber (at 25.000±0.005 ∘C); concentration is set via the flow rate, controlled with MFCs
(Natec MC-10SLPM-D and MC-50SLPM-D, accuracy
for more details on the calibration system
NOAA standard: 61 atm natural air in electropolished stainless-steel cylinder, containing
449.8±1.4 ppt OCS determined by GC–MS
H2O | I | relative humidity sensor (MSR 165)
O3 | II | O3 generator with integrated UV photometer as reference (Proffitt and McLaughlin, 1983)