## Worksheet 1
Gases measured | Sensor model | Method of detection | Gas detected and detection limits
Reducing gases | SGX Sensortech MICS-4514 | Redox reaction | CO: 1–1000 ppm
NH3: 1–500 ppm
C2H5OH: 10–500 ppm
H2: 1–1000 ppm
CH4: >1000 ppm
Oxidizing gases | SGX Sensortech MICS-4514 | Redox reaction | NO2: 0.05–10 ppm
H2: 1–1000 ppm
Ozone | SGX Sensortech MICS-2614 | Redox reaction | 10–1000 ppb
Ammonia | SGX Sensortech MICS-5914 | Redox reaction | NH3: 1–500 ppm
C2H5OH: 10–500 ppm
H2: 1–1000 ppm
C3H8: >1000 ppm
C2H8(CH4)2: >1000 ppm
Temperature and relative humidity | GE measurement and control CC2D25 | Polyamide capacitance | Temp.: −40–125 ∘C
RH: 0 %–100 %