## Worksheet 1
No. | Implemented modifications | Systematic offset | SD of the binned | Autocorrel. coeff. at lags
| with respect to the | (×1013 cm−2) at | mean (×1013 cm−2) | across track of 1 (20) pixels
| standard fit settings | SZA 90∘ (85∘) | at SZA 90∘ | for 25 November 2018
|  | min…max | (85, 60∘) max | (NH) (%)
– | Standard scenario | −1.2…1.4 (−0.9…0.4) | 1.80 (0.65, 0.29) | 4.2 (0.5)
1 | Calculation of the OClO SCD from | -1.8…1.2 (-1.4…0.2) | 1.63 (0.59, 0.27) | 4.5 (0.9)
fitted OClO+OClO×λ terms
at 377 nm (instead of 379 nm)
2 | Retrieval without the OClO×λ term | -2.2…1.2 (-1.8…0.1) | 1.57 (0.57, 0.26) | 5.2 (1.4)
3 | Slightly different fit window I (363–391 nm) | -1.3…1.4 (-1.0…0.3) | 1.78 (0.65, 0.29) | 4.7 (0.8)
(e.g. by )
4 | Different fit window II (365–389 nm) | −0.7…2.5 (-1.4…1.0) | 2.09 (0.76, 0.34) | 4.7 (0.9)
(e.g. by )
5 | Fraunhofer reference as daily mean of | −1.2…1.3 (−0.9…0.3) | 1.80 (0.65, 0.29) | 4.3 (0.6)
the earthshine spectra (Appendix A1.1)
instead of the mean of normalized
earthshine spectra (Appendix A1.2)
6 | BrO correction (Appendix A4) taking | −0.9…2.0 (−0.8…0.5) | 1.80 (0.65, 0.29) | 4.2 (0.5)
the wavelength dependency of the BrO SCD
into account assuming (Fig. A1) a profile
peak at 20 km (instead of 17 km)
7 | BrO correction (Appendix A4) without | −0.4…2.8 (−0.7…0.6) | 1.80 (0.65, 0.29) | 4.2 (0.5)
accounting for the wavelength dependency
of the BrO AMF
8 | BrO correction (Appendix A4) not applied | −0.2…4.4 (−0.4…1.7) | 1.80 (0.65, 0.29) | 4.5 (0.7)
9 | BrO correction not applied, but | -2.4…2.1 (-3.3…-0.3) | 2.18 (0.80, 0.37) | 11.2 (3.9)
the BrO cross section included
as a fit parameter in the OClO fit
10 | NO2 Ring spectrum (Appendix A3) | -2.8…0.8 (-1.7…-0.2) | 1.73 (0.63, 0.28) | 5.0 (0.7)
is excluded
11 | Only Ring spectra for one temperature (280 K) | −0.9…2.4 (−0.5…1.2) | 1.80 (0.65, 0.29) | 4.0 (0.5)
12 | Fit without the slit function pseudo | −1.1…1.3 (-1.3…0.2) | 1.77 (0.65, 0.30) | 9.2 (1.9)
absorbers
13 | Offset correction λ2/I0 term excluded | -1.3…1.4 (−0.8…0.3) | 1.76 (0.64, 0.28) | 3.7 (0.5)
14 | Standard convolution for the trace | −0.8…1.7 (−0.7…0.6) | 1.82 (0.66, 0.29) | 4.4 (0.5)
gas cross sections applied instead of
the intensity-weighted (I0)
convolution (Appendix A2)
15 | Same as 14 but with the offset | −1.0…1.6 (−0.6…0.5) | 1.77 (0.65, 0.29) | 3.8 (0.5)
correction λ2/I0 term excluded