## Worksheet 1
Uncertainty | Condition | Unit | Standard | Contribution to
factor |  |  | uncertainty | uncertainty in radiation
|  |  | (k = 1) | correction (k = 2)
T | −67 | ∘C | 0.028 | 0.000 ∘C
P | 5 | hPa | 0.01 | 0.000 ∘C
v | 5 | m s−1 | 0.058 | 0.004 ∘C
S | 980 | W m−2 | 30.5 | 0.062 ∘C
Rotation | 24 | ∘ s−1 | – | 0.035 ∘C
Tilting | 27 | ∘ | – | 0.052 ∘C
Fitting error | −0.024 to 0.04 | ∘C | 0.023 | 0.046 ∘C
Expanded uncertainty in radiation correction (k = 2) |  |  |  | 0.100 ∘C