## Worksheet 1
Uncertainty factor | Uncertainty (k = 2)
Expanded uncertainty for the radiation correction at 1360 W m−2, U(ΔTrad) | 0.138 ∘C
Calibration of the RS41 temperature sensor (Vaisala, 2022), U(Traw) | 0.100 ∘C
Expanded uncertainty in the corrected temperature, U(Tcor) | 0.170 ∘C