## Worksheet 1
Specification | TIR imager (VELOX327k veL) | Infrared thermometer (KT19.85II)
Spectral range | 7.7 to 12.0 µm | 9.6 to 11.5 µm
Detector technology | cadmium–mercury–telluride | thermo-electric
Sensor format | 640×512 pixels | 1 pixel
Field of view (FOV) | 35.5∘×28.7∘ | 2.3∘
Measurable temperature range | −40 to 100 ∘C | −50 to 50 ∘C
Noise equivalent temperature difference (NETD) | ≤40 mK, typ. 30 mK at 25 ∘C | typ. 100 mK
Integration time | 5 to 150 µs | 5 ms
Measurement frequency | 100 Hz | 20 Hz
Cooling | active (Sterling) | un-cooled
Operation temperature | −15 to 50 ∘C | −20 ∘C to 70 ∘C
Weight | 5 kg | 2.35 kg
Power consumption