## Worksheet 1
Measured
relative
|  |  | Temporal | humidity
Variable | Instrument | Measurement | resolution | (RH) (%) | Availabilitya | Data access
Particle size
distributions
| Ultra-high-sensitivity aerosol spectrometer (UHSAS) | Dry particle size distributions Dp: 0.06–1 µm (optical diameter) | 1 Hz | 55 ± 8b | Nov 2016–May 2017 | https://doi.org/10.5439/1333828
| Scanning mobility particle sizer (SMPS) | Dry particle size distributions Dp: 0.01–0.46 µm (mobility diameter) | 5 min | 55 ± 8b | Nov 2016–May 2017 | https://doi.org/10.5439/1225453
Particle scattering
| TSI 3563 three-wavelength integrating nephelometer (NEPH) |  | 1 min (alternating impactor size cuts approximately every 55 min) | 60 ± 4c | Nov 2016–May 2017 | https://doi.org/10.5439/1259232
Ancillary
| Aerodyne Research aerosol chemical speciation monitor (ACSM) | Mass concentration of nonrefractory submicron chloride aerosol | 15 min |  | Jan 2017–May 2017 | https://doi.org/10.5439/1762267
| TSI Ultrafine condensationparticle counter 3776 | Condensation nuclei concentration of particles >3 nm | 1 min |  | Nov 2016–May 2017 | https://doi.org/10.5439/1046186
| Vaisala WXT-520 | Wind speed and rain intensity | 1 min |  | Nov 2016–May 2017 | https://doi.org/10.5439/1025153
| DMT single particle sootphotometer | Refractory black carbon concentration | 15 min |  | Nov 2016–May 2017 | https://iop.archive.arm.gov
| Los Gatos Research trace gasanalyzer | Carbon monoxide mixing ratio | 1 min |  | Nov 2016–May 2017 | https://doi.org/10.5439/1046183
| Radiance Research particle soot absorption photometer (PSAP) |  | 1 min |  | Nov 2016–May 2017 | https://doi.org/10.5439/1339528