## Worksheet 1
Analyser | Measurement technique | Measured | Measurement | Calibration
|  | species | precision
Los Gatos micro-portable | Off-axis integrated-cavity | CO2 | 2 ppm | Standard gas conc.
CO2andCH4 analyser | output spectroscopy | CH4 | 3 ppb | 4968 ppm (±2 %)a
15.71 ppm (±5 %)b
Aeris Pico mid-IR | Cavity ring-down | CO | 1 ppb | Standard gas conc.
Laser-based | spectroscopy | N2O | 1 ppb | 103.0 ppm (±2 %)a
COandN2O analyser |  |  |  | 1.15 ppm (±2 %)a
TSI SidePak® | Optical particle counter | Particulate | 1 µg m−3 | Calibrated against:
AM520 Optical | 90∘ light scattering of | matter | Range: | 1. TROPOS SMPSb
particle counter | 650 nm laser diode |  | 0.001–100 mg m−3 | 2. Tapered Element Oscillating
Microbalance (gravimetric)c
3. Cross-calibration (5× AM520)c
MicroAeth® AE51 | Attenuation of | Equivalent | 0.1 µg m−3 | Calibrated against:
black carbon | λ=880 nm light by | black |  | 1. Aethalometer AE33 (λ=880)b
analyser | a particle-laden filter | carbon |  | 2. MAAP 5012 (λ=637)b
| MACair=7.77 |  |  | 3. Sunset analyser (thermo-optical EC)d
4. Cross-calibrationc