## Worksheet 1
Analyte | Calibration source | Inlet | Instrument sensitivity | Sensitivity
|  | mixing | (Hz pptv−1 1 MHz−1I−•H2O) | dependence
|  | ratio | at CR =0.50 and IMR | on IMR
|  |  | temperature =29 ∘C | temperature
(% ∘C−1)a
HCN | 10.4 ppmv in N2 gas standard | 20 ppbv | 0.05 | -5.7±0.3
HCl | Permeation tube | 27 ppbv | 0.0013 | -5.8±0.4
HCOOH | Permeation tube | 7 ppbv | 5.3 | -5.0±0.2
Br2 | Permeation tube | 1.3 ppbv | 10.8 | -0.79±0.05
ClNO2 | Online synthesis | 30 pptv | 11 | -0.89±0.4
N2O5 | Online synthesis | 3.8 ppbv | 36 | -0.90±0.1
HONO | Online synthesis | 2.5 ppbv | 2.3 | -4.47±0.6
I*PAN | Online synthesis | 800 pptv | 2.4 | -3.41±0.1
PAN anion | Online synthesis | 800 pptv | 2.1 | 0.2±0.09
2-Nitrophenol | Diffusion cell | 350 pptv | 0.01 (Palm et al., 2020) | -5.9±0.3
Phenol | Diffusion cell | 1055 pptv | 0.58 (Palm et al., 2020) | -5.4±0.4