## Worksheet 1
Instrument name | Measured variable | Units | Measurement | Measurement range | IOP only
uncertainty
BASTA cloud radar | Radar reflectivity | dBZ | 2 dB | −52 to 20 dBZ | No
PWD22 visibility sensor | Meteorological | m | 10 % (below 10 km) | 0.01 to 20 km | No
optical range
RS-41 radiosonde | Temperature | ∘C | 0.3 ∘C | −65 to 70 ∘C | Yes
| Relative humidity | % | 4 % | 0 % to 100 %
HATPRO microwave | Brightness | K | 0.3 to 0.5 K | n/a | No
radiometer | Temperature
Cloud droplet probe | LWC | g m−3 | 30 %* | n/a | Yes
| Number | cm−3 | 20 %
concentration
CT25K ceilometer | Cloud base height | m | 2 % + 7.5 m | 0 to 7.5 km | No