## Worksheet 1
Location | Name used | Manufacturer | Manufacturer | Availability | Flow rate | Reporting | Accuracy | Manufacturer- | Reporting range
| in this study | Name |  |  | (SLPM) | time (s) | (%) | reported precision (ppb)
Scaffold 1 | miniDOAS #1 | miniDOAS | NTB, Buchs, CH | Adapted | n/a | 60 | Unavailable | 0.26d | Unknowne
| miniDOAS #2 | miniDOAS | RIVM, NL | Commercially available | n/a | 60 | 2 | 0.36 | 0.36–430 ppb (currently validated, higher is possible)
Scaffold 2 | AiRRmoniaa #1 | AiRRmoniaa | Mechatronics BV, the Netherlands | Discontinued | 1 | 60 | 3 | 0.05 | 0.04 to 500 ppb
Tow van | QCLAS | Mini-TILDAS Ammonia Monitor | Aerodyne Inc, USA | Commercially available | 13f | 1 | – | 0.045 at 300 s | 0–1 ppm
| AP2E | ProCeas® gas analysera | AP2E, France | Commercially available | 1 | 60 | – | LOD: 10 | 0–10 ppm
| AiRRmonia #2 | AiRRmoniaa | Mechatronics BV, the Netherlands | Discontinued | 1 | 350 | 3 | 0.05 | 0.04 to 500 ppb
| Picarro #1 | Picarro G2103 Analysera | Picarro Inc. USA | Commercially available | 0.8 | 60 | ±5 % of reading +0.5 ppb | 0.5 at 1 s 0.17 at 10 s 0.03 at 300 s | Guaranteed range: 0–500 ppb Operational range: 0–10 ppm
Mobile lab | LGR #1 | Economical NH3 Analyser (EAA 30r)a | Los Gatos Re- search (LGR) Inc, USA | Commercially available | 0.25 | 1 | – |  | Measurement range: 0.5–10 000 ppb Operational range: 0–200 ppm
| LGR #2 | Economical NH3 Analyser (EAA 30r)a | Los Gatos Re- search (LGR) Inc, USA | Commercially available | 2.3 | 5 | – |  | Measurement Range: 0.5–10 000 ppb Operational Range: 0–200 ppm
| Picarro #2 | Picarro G2103 Analyzera | Picarro Inc. USA | Commercially available | 1.35 | 60/300 (OGS) | ±5 of reading +0.5 ppb | 0.5 at 1 s 0.17 at 10 s 0.03 at 300 s | Guaranteed range: 0–500 ppb Operational range: 0–10 ppm
| Tiger Optics | Tiger-i 2000a | Tiger Optics, USA | Superseded by T-I Max | 0.48 | 1 | ±4 of reading or 1/2 LOD | 0.83 | 0–40 ppm
| LSE | NH3 monitora | LSE monitors, NL | Commercially available | 0.1 | 60 | – | ±4 % of reading or 2 ppb | 0–15 ppm
| MARGA | MARGA a | Metrohm-Applikon, NL | Superseded by 2060 MARGA | 16.7 | 3600 | 6 | 5 % | Range is not reported by manu- facturer, but limit of detection is 0.05 µg m−3 on a loop.
Posts | ALPHAb | UKCEH ALPHA® | UK Centre for Ecology & Hy- drology, UK | Available | n/a | n/a | 15 % | 3 % | 0.04 to 137 ppb
Mobile lab | Optical Gas Standard (OGS)c | Picarro G2103 Analyzera (Picarro #2) | Hardware: Pi- carro Inc. USA Software: PTB, DE | Research prototype | 1.35 | 300 | ±3 % @ k = 2 of reading +0.5 ppb | 0.5 at 1 s 0.17 at 10 s 0.03 at 300 s | Guaranteed range: 0–500 ppb Operational range: 0–10 ppm