## Worksheet 1
Source | Char. | Uncertainty | Reference | Typea
Measurement
Noise | ran | 15–33 nW (cm2sr cm−1)−1b | MIPAS Level 1b data | G [8]
Radiance offset noise | ran | 3 nW (cm2 sr cm−1)−1 |  | G [5;13]
Instrument line shape | sys | 3 % |  | P [7]
Gain calibration | sys | 1.2 % (sys); 0.21 % (rnd) |  | P [7;12]
Spectral Shift | sys | 0.00029 cm−1 |  | P [7]
Atmospheric constituents
CO2 | rdn |  | IPCC Fifth Assessment Report | P [7;10]
| sys | 2 % at 80 km
| sys | 10 % at 90–100 km
| sys | 30 % at 120 km
Oc | sys | See Fig. 4 |  | P [7]
Interfering gases | ran | See text | Preceding version 5 retrieval | G [6]
Model parameters
CO2(ν2) quenching by O (kO)c | sys | 50 % |  | P [7]
CO2 spectroscopy | sys | 1 % (intensities) | Manfred Birk (personal communication, 2020) | P [7]
| sys | 2 % (p broadening) | Manfred Birk (personal communication, 2020)
| sys | 0.2 (Tk-dependent exponent) | Manfred Birk (personal communication, 2020)
CO2(ν2) quenching by N2 and O2 (kair)c | sys | 30 % |  | P [7]
CO2 ν2-quanta exchange (kvv)c | sys | 20 % |  | P [7]