## Worksheet 1
| BSH |  | TNO | Chalmers
System name | bsh.ap1 | bsh.hor1 | tno.std | cha.std | cha.las
bsh.mms
Data collection period | 7 Sep–15 Oct | 7 Sep–15 Oct | 8 Sep–15 Oct | 20 Sep–14 Oct | 20 Sep–14 Oct
System make | mlu-recordum | Horiba | in-house | in-house | Aerodyne
SO2 | Airpointer | Horiba APSA-370 | Thermo 43i-TLE | Thermo 43i-TLE | TILDAS Dual Laser
Trace Gas Analyzer
Measurement principle | UV fluorescence | UV fluorescence | UV fluorescence | UV fluorescence | TILDAS4
Precision [ppb] | 1 % of reading, | 0.5 % of reading, | 1 | 1 | 0.015
| but at least 1 ppb | but at least 0.5 ppb
Detection limit [ppb] | 2 | 0.5 | 3 | 3 | 0.06
Response time (T90) [s] | 40 | 40 | 40 | 40 | 1
Sampling rate [Hz] | 0.1 | 0.2 | 1 | 1 | 1
Cross-sensitivity to NO | 0.7 to 1.5 | 0.5 to 1.0 | 0.8 | 1.5 | no cross-sensitivity
[%]
CO2 | LI-COR 840A | LI-COR 840A | LI-COR 7000 | Picarro G2301-m | TILDAS Dual Laser
Trace Gas Analyzer
Measurement principle | NDIR2 | NDIR2 | NDIR2 | CRDS3 | TILDAS4
Precision [ppm] |  |  |  | 0.06 | 0.06
Detection limit [ppm] | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Response time (T90) [s] | 1 | 1 | 1 | 1 | 1
Sampling rate [Hz] | 0.1 | 0.2 | 1 | 1 | 1
NO, NO2, NOx | Airpointer | Horiba APNA-370 | EcoPhysics | Thermo 42i-TL | (not applicable)
CLD700-AL
Measurement principle | chemiluminescence | chemiluminescence | chemiluminescence | chemiluminescence | –
Precision [ppb] | 1 % of reading, | 0.5 % of reading, | 0.5 | 0.3 | –
| but at least 1 ppb | but at least 0.5 ppb
Detection limit [ppb] | 1 | 1 | 1 | 1 | –
Response time (T90) [s] | 30 | 30 | 2 | 1 | –
Sampling rate [Hz] | 0.1 | 0.2 | 1 | 1 | –