## Worksheet 1
| CSIRO | MPI-BGC | UHEI-IUP | SIO | INSTAAR | ECCC
Realization of VPDB–CO2 scale | Local∗ | Local (JRAS-06) | Local | Local | JRAS-06 | Local
Realization approach and frequency | Calibration of pure CO2 was done in 1987, 1994 and 2009 using NBS19 and transferred to a suite of CO2-in-air standards that are independently maintained. The value assignment is consistent with the MPI-BGC scale for d13c. | Calibration was done at the time of implementation and is maintained by various high pressure air cylinders since then. | About once per year. Transfer to internal pure CO2 gases (Oberlahnstein and Pflanzenstandard) used for daily MSP calibration | A calibration was done in 1994 and maintained CO2-in-air standards since | Current/recent CO2-in-air standards measured against MPI-BGC standards on JRAS-06. Previous standards tied through “linking standards” | Once per year since 2001 via NBS19, NBS18, and two lab-carbonate standards (Cal1 and 2) measured together against the same CO2 working reference
Primary reference material | NBS19 | NBS19 | Pure CO2: RM8562, 8563, 8564 | Carbonates: NBS19; Pure CO2: NBS16,17; | NBS19 via JRAS-06 cylinders | Carbonates: NBS19 and NBS18
17O correction | Brand et al. (2010) | Santrock et al. (1985) with IUPAC-recommended values for “lambda” and “k” coefficients (Brand et al., 2010). | Santrock et al. (1985) (with coefficients =0.5 and k=0.008335) | Craig (1957) | Brand et al. (2010) | Craig (1957)/Allison et al. (1995)
N2O correction | Mook and Jongsma (1987) using measured CO2 and N2o amount fractions. | Ghosh and Brand (2004) | Mook and Jongsma (1987) with measured N2O | Mook and Jongsma (1987) with estimated N2O | Mook and Jongsma (1987) with measured N2O | Mook and Jongsma (1987) with measured N2O
Scale contractioncorrection | Explicitly monitored, small, and measurements corrected. | Monitored, negligible, no correction applied | Monitored, negligible, no correction applied |  | Monitored by surveillance cylinders, negligible due to identical treatment, not corrected for | Monitored, negligible, no correction applied
QA/QC | Suite of surveillance cylinders. Use of air standards also corrects for uncorrected for variability. |  | Suite of surveillance cylinders |  | Suite of surveillance cylinders | Regularly daily monitoring during analysis using the ECCC ”Big Delta” method, i.e., the relative difference between the two lab carbonates
References | Allison and Francey (2007) | Wendeberg et al. (2011) and references therein | Neubert (1998) | Guenther et al. (2001), Bollen-bacher et al. (2000), Lueker et al. (2020) | Trolier et al. (1996), Michel (2022) | Huang et al. (2013)