## Worksheet 1
Input parameter | Perturbation cause | Perturbation value
Upwelling radiance spectrum | Temperature uncertainty in blackbody | See Fig. 5b
calibration targets
Upwelling radiance spectrum | NESR | See Fig. 5b
Downwelling radiance spectrum | Temperature uncertainty in blackbody | See Fig. 5c
calibration targets
Downwelling radiance spectrum | NESR | See Fig. 5c
Up- and downwelling radiance | Uncertainty in the emissivity of blackbody | See Fig. 5b and c
spectra | calibration targets
Transmission | Uncertainty in the simulation of | Accuracy of Vaisala PTU300 and GMP343:
| the intervening atmosphere caused | – 0.15 hPa
| by uncertainty in the pressure, | – 0.3 K
| temperature, humidity, and | – 1 % + 0.008 × reading
| CO2 measurements | – 3 ppm + 0.01 × reading
Surface temperature | Precision of the computational method | 0.025 K
used to retrieve the surface temperature