## Worksheet 1
Study | Level of agreement
Hiranuma et al. (2015) | – Differences can reach up to 3 orders of magnitude at the same temperature or 8 °C at the same ns
Wex et al. (2015) | – 72% of data points were within 1 °C at the same nm; 78% were within 2 °C
– At the high end of nm all data were within a factor of 3
Burkert-Kohn et al. (2017) | – Differences can exceed a factor of 3 in the water supersaturated regime
– Immersion mode measurements agreed within the experimental uncertainty for all aerosol types;
differences in deposition and condensation mode measurements were up to 2 orders of magnitude
DeMott et al. (2017) | – Differences were mostly less than 1 order of magnitude, while at ∼ 1 INP L−1 differences increase,
reaching nearly 2 orders of magnitude
– CFDCs were often 2 to 5 times lower than DFCSs
DeMott et al. (2018) | – Typically, differences were within 1 order of magnitude, but varied with aerosol type
– Snomax showed the best agreement overall; at
– Differences were within 1 order of magnitude for Argentinian soil dust; Tunisian soil dust showed
similar, but slightly worse agreement
– K-feldspar and Illite NX showed discrepancies partially exceeding 2–3 orders of magnitude
Hiranuma et al. (2019) | – Differences can reach up to 4 orders of magnitude at the same temperature or 10 °C at the same ns
Knopf et al. (2021) | – INP concentrations seem to be usually within 1 order of magnitude*
Brasseur et al. (2022) | – INP concentrations were usually within 1 order of magnitude and followed similar trends,
with one CFDC being consistently lower by a factor of 10
Lacher et al. (2024) | – Online INP counters had 35 % and 70 % of data within a factor of 2 of a reference CFDC;
80 % and 100 % were within a factor of 5, respectively
– DFCSs from the same inlet had on average 45 % of data within a factor of 2 of a reference DFCS;
77 % were within a factor of 5
DeMott et al. (2025) | – Average INP concentrations agreed within factors ranging from nearly 1 to 5.5, corresponding to
differences of 3.5 to 5 °C; depending on the instruments compared, 60 % to 100 % of individual
data were within 1 order of magnitude
– Differences can increase to up to 2 orders of magnitude between −20 and −25 °C