## Worksheet 1
Uncertainty parameter | Value (k = 1) | (Un)correlated
Mirror temperature measurement, u_mirror | 0.052 = (u_mrr12 + u_mrr22 + u_mrr32)0.5 | Temporally correlated
PT temperature calibration, u_mrr1 | 0.07/3 | Temporally correlated
Resistance measurement u_mrr2 | 0.005/3 | Temporally correlated
Thermal gradient of mirror, u_mrr3 | 0.015/3 | Temporally correlated
Golden point detection error, u_GP_error | 0.2 K at normal | Spatially correlated
> 1.0 K in the case of the large oscillation
Filtering deviation, u_filter |  | Uncorrelated
> 0.5 K in the case of the large oscillation
Contamination by cloud | Depends strongly on the situation | Spatially correlated
Aerosol effect and curvature effect | Negligible | Spatially correlated
Total uncertainty, u_DP | = (u_mirror2 + u_GP_error2 + u_filter2)0.5