## Worksheet 1
Instrument | Major element | Parameter
components
Optical | Full field of view | 9°
system | Etendue | 0.156 cm2 steradian
| Relay lens magnification | 1
| Center wavelength of the filter | 557.7 nm
| Band width of the filter | 2 nm
Detector | Size | 2048 × 2048
| Pixel length | 13.5 µm
Calibration | Illuminant wavelength | 557.029 nm
illuminant | Neutral density filter | OD 0.8