## Worksheet 1
Instrument Name | Manufacturer | Measured Quantities | Nom. Acquisition Rate [Hz]
Holographic System | in-house | individual 3D particle position (21.5 cm3 per pair)cross-section size and shape (21.5 cm3 per pair)2D particle velocity u,w (12.3 cm3 per pair) | 25 (hologram pairs)50 (individual holograms)
VectoDAQ | Vectoflow GmbH | 3D flow velocity u, v, w | 50
PSS8 ADC | Simtec AG | 1D flow velocity u | 100
SBG Ellipse-N | SBG Systems | 3D orientation, velocity, and GPS position | Acc. 390, Gyro. 133, Magn. 22, GPS 5
OPC-N3 | Alphasense | Particles, 0.35 µm to 40 µm | 1
SHT40 | Sensirion | Temperature, Relative Humidity (RH) | 15.3
BMP390 | Bosch | Temperature, Pressure | 15.3
TMP117 | Texas Instruments | Temperature | 15.3
BME688 | Bosch | Temperature, RH, absolute pressure, trace gases | 1
Future Instrumentation
simpleRTK2B with 3x U-Blox ZED-F9P | ardusimple, U-Blox | GPS Data, 3D orientation | 10
CDP-2 | Droplet Measurement Techniques | Particles in quasi 1D, 2 µm to 50 µm | continuous in 0.24 mm2 cross section