## Worksheet 1
Measurement specifications
Temperature range | −50–400 °C
Spectral range | 9.6–11.5 µm
Measurement uncertainty | ±0.5 °C plus 0.7 % of the temperature difference between measured target and instrument
Long-term stability | Better than 0.01 % of the absolute measured temperature per month
Deployment environment
Location | A rooftop platform at Tibet University's Najin campus
Elevation | 3650 m