## Worksheet 1
Component | Model | Manufacturer
Gas analyzer | Picarro G2311-f | Picarro Inc., Santa Clara, USA
Board computer | Raspberry Pi 3 Model B | Raspberry Foundation, Cambridge, Great Britain
Five-hole probe | 858 AJ Rosemount | Rosemount Inc., Shakopee, USA
Pressure sensor | Mensor CPT6100 | Mensor Corp., San Marcos, USA
USB converter (pressure) | USB COM232PLUS4 | FTDI, Glasgow, Great Britain
SPAN GNSS–INS system | SPAN-IGM-S1 (incl. STIM300 MEMS IMU) with FlexPak-G2-V2 | Novatel, Calgary, Canada
Thermocouple | CHAL-003 | OMEGA, Deckenpfronn, Germany
Temperature set point conditioner | AD596/AD597 | Analog Devices, Wilmington, MA, USA
USB-adapter thermocouple | RedLab USB-1608FS-PLUS | Meilhaus Electronic GmbH, Alling, Germany
TAT sensor housing | Rosemount 102E | Rosemount Inc., Shakopee, USA
Humidity sensor | HUMICAP | Vaisala, Helsinki, Finland
Temperature sensor | Pt100 RTD class F0.1, IEC 60751 | Vaisala, Helsinki, Finland
Humidity transmitter | HMT311 | Vaisala, Helsinki, Finland