## Worksheet 1
Instrument | wavelength range | cross-sections | other
MAX-DOAS | 324.5–359 nm | HCHO (297 K): | Polynomial degree:
|  | NO2 (298 K): | Order 5 (6 coefficients)
|  | O3 (223, 243 K): ∗ | Intensity offset:
|  | O4 (293 K): | Order 1
|  | BrO (223 K): | Calibration: based on reference SAO
Ring: QDOAS high resolution based on SAO:
reference of the scan (average)
direct sun | 324.5–359 nm | HCHO (297 K): | Polynomial degree:
|  | NO2 (298 K): | Order 5 (6 coefficients)
|  | O3 (223, 243 K): ∗ | Intensity off-set:
|  | O4 | Order 2
|  | BrO (223 K): | Calibration: based on reference
|  | HONO: | SAO