## Worksheet
Parameter | Data source | O3 retrieval
|  | Huggins bands (UV) | Chappuis bands (VIS)
Wavelength range |  | 320–340 nm | 450–520 nm
O3 (223 K) | Serdyuchenko et al. (2014) | √ I0-corrected (SCD of 1020 molec. cm−2) | √
and Taylor terms (Puķite et al., 2010)
O3 (243 K) | Serdyuchenko et al. (2014) | √ I0-corrected (SCD of 1020 molec. cm−2), | √ Orthogonalized to O3 (223 K)
subtracted from O3 (223 K)
NO2 (298 K) | Vandaele et al. (1998) | √ I0-corrected (SCD of 1017 molec. cm−2) | √ I0-corrected (SCD of 1017 molec. cm−2)
NO2 (220 K) | Vandaele et al. (1998) |  | √ I0-corrected (SCD of 1017 molec. cm−2)
and orthogonalized to NO2 (298 K)
O4 (293 K) | Thalman and Volkamer (2013) |  | √
O4 (203 K) | Thalman and Volkamer (2013) |  | √ Orthogonalized to O4 (293 K)
HCHO (298 K) | Meller and Moortgat (2000) | √
H2O (293 K) | HITEMP (Rothman et al., 2010) |  | √
Polynomial degree |  | Order 3 | Order 5
Intensity offset |  | Order 1 | Order 1
Wavelength Calibration | Based on a high-resolution solar reference spectrum (Chance and Kurucz, 2010)