## Worksheet
Experiment | Interference | N2O range | Interferant range | Gases used | Instruments used
Exp 1 (Sect. 3.1) N2O non-linearity | N2O effect on δ-values | 300 to 1200 ppb | n.a. | Cal 1, Cal 2, matrix b | CRDS-I, CRDS-II, CRDS-III
Exp 2 (Sect. 3.2) CH4 Spectral Interference | CH4 effect on δ-values | 330, 660, 990 ppb | CH4: 0–10 ppm | Cal 1, Cal 2, matrix b, CH4 in matrix b | CRDS-I, CRDS-II, CRDS-III
Exp 3 (Sect. 3.3) CO2 Spectral Interference | CO2 effect on δ-values | 330, 660, 990 ppb | CO2: 0–2000 ppm | Cal 1, Cal 2, matrix b, CO2 in matrix b | CRDS-I, CRDS-II
Exp 4 (Sect. 3.4) O2 Matrix Gas Effects | O2 effect on δ-values | 330, 660, 990 ppb | O2: 12 %–21 % | Cal 1, Cal 2, matrix b, matrix d | CRDS-I, CRDS-II
Exp 5 (Sect. 3.5) Additivity Validation | CH4 and CO2 combined effects on δ-values | 330, 660 ppb | CH4: 0–10 ppm and CO2: 0–2000 ppm | Cal 1, Cal 2, matrix b, CH4 in matrix b, CO2 in matrix b | CRDS-II, CRDS-III
Exp 6 (Sect. S3 in the Supplement) Dilution Validation | Static vs. dynamic dilution effects on δ-values | 330 ppb | n.a. | RM-1-1Pure, RM-1-1Diluted-1, RM-1-1Diluted-2 | CRDS-II