## Worksheet
type of equipment | model | manufacturer
frequency combs | SmartCombs | MenloSystems
reference laser | Koheras Basik X15 | NKT Photonics
Rubidium clock | FE-5680A | FEI Communications
function generator | SDG6022X | Siglent
servo controller | DSC1 | Thorlabs
non polarizing beam-splitter | BSW18 | Thorlabs
fiber | PM1550-XP (PANDA) | Thorlabs
grating spectrometer | waveScan Extended IR spectrometer | APE
return telescope | GSO 8′′ Ritchey-Chretien Pro 203/1624 mm | TS-Optics
off-axis parabolic mirror | 50.8×190.5 mm EFL 90° Protected Gold | Edmund Optics
detector | PDA05CF2 | Thorlabs
acquisition system | SDRlab 122-16 External Clock | RedPitaya
pressure sensor | PTB330 (A0AAHAACEB0A0B) | Vaisala