APPLICATION OF BIAS CORRECTION METHODS

TO IMPROVE THE RADAR-BASED QUANTITATIVE RAINFALL ESTIMATIONS IN KOREA

Jae-Kyoung Lee1, Ji-Hyeon Kim2, and Mi-Kyung Suk2

1 Innovation Center for Engineering Education, Daejin University, Pocheon-si, Gyeonggi-do, Korea

2 Weather Radar Center, Korea Meteorological Administration, Seoul, Korea

17 March 2015

Corresponding Author: Jae-Kyoung Lee, Innovation Center for Engineering Education, Daejin University, Hoguk-ro 1007, Pocheon-si, Gyeonggi-do, 487-711, Korea

E-mail : myroom1@daejin.ac.kr

Abstract

There are many potential sources of the bias in rainfall estimation performed by a weather radar. This study classified the rainfall estimation process overall bias into the reflectivity measurement bias (Z-bias) and the rainfall bias (R-bias) estimated by the Quantitative Precipitation Estimation (QPE) model. It is also conducted the bias correction methods to improve the accuracy of the Radar-AWS Rain rate (RAR) calculation system operated by the Korea Meteorological Administration (KMA).

This study utilized a bias correction algorithm to correct the Z-bias occurred when a weather radar measures the reflectivity.  The concept of this algorithm is that the target single-pol radar reflectivity is corrected based on the reference dual-pol radar corrected in the hardware and software bias. This study dealt with two post-process methods, the Mean Field Bias Correction (MFBC) method and the Local Gauge Correction method (LGC), to correct the R-bias. The Z-bias and R-bias correction methods were applied to the RAR system. The accuracy of the RAR system was improved after correcting Z-bias. For the rainfall types, the accuracy of the Changma front and the local torrential cases was improved without the Z-bias correction. However the accuracy of the typhoon cases got worse than the existing results. In R-bias correction methods, result obtained by the LGC method with Z-bias correction was especially better than that obtained by the MFBC method, due to the different rainfall bias applied to each grid rainfall amount in the LGC method. For the rainfall types, results obtained by the LGC method with Z-bias correction in all types were more accurate than that obtained by only the Z-bias correction. Especially, the results in the typhoon were vastly superior to the other types.

Keywords: Bias correction, Radar-AWS Rain rate calculation system, Local Gauge Correction, Radar rainfall estimates

1. INTRODUCTION

Weather radars can provide rainfall estimates over the Korean Peninsula and near seas with high spatial (minimum 0.125 km) and temporal resolutions (2.5 minutes and 10 minutes), and playing an important role in predicting and monitoring severe weather conditions. However, several sources of biases are involved in the quantitative radar-based rainfall estimates. It is well acknowledged that radar estimates of rainfall are affected by following errors (Zawadzki, 1984): (1) systematic bias due to radar miscalibration (e.g. reflectivity measurements that are included in radar measurement hardware errors, signal processing, etc.), random error (e.g. relations between radar measurable and observed rainfalls, such as Z-R, ZDR-R, and KDP-R) and range-dependent errors (e.g. beam-blockage and attenuation) (Huff, 1970; Woodely et al., 1957, Wilson and Brandes, 1979; Austin, 1987; Campos and Zawadzki, 2000; Seo et al., 2000; Krajewski and Smith, 2002, Villarini et al., 2008; Sebastianlelli. et al., 2013). Related to systematic bias, a considerable number of studies have been conducted to correct the reflectivity measurement biases, which includes temporal and spatial sampling bias, electrical calibration, and the quantification of the reflectivity bias (Chumchean et al., 2006). Jordan et al. (2000) evaluated the biases which arise in radar estimates of rainfall as a result of temporal sampling (spatial averaging), measuring the field at some distance above the ground, and recording the reflectivity data with a limited radiometric resolution. Germann et al. (2006) modified the ground clutter algorithm and reduced the amount of residual non-meteorological signals in a mountainous region (the Alps), to improve the precipitation estimation. Villarini and Krajewski (2008) investigated the spatial sampling errors in radar observations, which affect the sensitivity of the models, and determined that these errors were related to the approximation of an areal estimate by a using a point measurement. Similarly, converting the measured reflectivity to a rainfall amount using artificial relationships or models is one of the major sources of bias. To overcome these limitations, gauge adjustment methods were applied to correct misestimated precipitation, in numerous existing studies. Sinclair and Pegram (2005) described a merging technique and presented an application of it to a simulated rainfall field. The proposed merging technique, based on Conditional Merging (CM) (Ehret, 2002), made use of a Kriging method to reduce the bias while retaining spatial detail from the radar but keeping the spatial variability observed by the radar. Morin and Gagella (2007) compared three radar-gauge adjustment methods, a one-coefficient bulk adjustment, a Weighted Regression (WR), and a Weighted Multiple Regression (WMR), for the radar-based quantitative precipitation estimation over the Mediterranean and dry climate regimes. They concluded that the WR and WMR adjustment methods were useful for calculating rain depth estimates, with some limitations. Goudenhoofdt and Delobbe (2009) dealt with several radar-gauge merging methods, considering the gauge network densities, and compared their precipitation estimates accuracy. The analysis revealed that the simple methods reduced the radar estimation bias, and the geostatistical merging methods resulted in a better performance that reflected the gauge network densities.

Using a series of procedures which estimate the quantitative rainfalls derived from radar information, this paper focuses on correcting the measurement bias and the bias which affects the rainfall estimation by the QPE model. The measurement bias (hereafter Z-bias) is defined as the only reflectivity measurement bias which occurs while using weather radar hardware systems to detect precipitation. The bias by the QPE model is defined as the estimated rainfall-bias (R-bias), which includes the bias due to the parameters of the Z-R relationship, the parameters of the QPE model, and the QPE model structure. Section 2 describes the Z-bias and R-bias correction methods used in this paper. Section 3 show effects of methods used to correct Z-bias and R-bias on the rainfall estimation performed by the QPE model. Finally, Section 4 summarizes the results and provides some concluding remarks.

2.  DATA AND METHODOLOGY

2.1 Radar Dataset and Rainfall Cases

In this study, the performance of the bias correction methods has been evaluated by comparing the observed rainfall data from rain gauges operated by the KMA (Korea Meteorological Administration). The observed rainfall data were collected from 642 ground rain gauges (called AWS, Automatic Weather Station) located in the Korean Peninsula, 321 of which were for calibration, and 321 for validation in Figure 1. The Bislsan S-band dual-polarimetric radar, which was installed and operated by the Ministry of Land, Infrastructure and Transport (MLIT) in 2009, and was selected to be the absolute reference radar to estimate the Z-bias (described in Section 2.2). Horizontal and vertical reflectivity (ZH and ZV), differential reflectivity (ZDR), differential phase (ΦDP), specific differential phase (KDP), correlation coefficient (ρHV), and spectrum width (SW) were estimated with a gate size of 0.125km. The scan strategy consists of six elevation angles, with a 2.5 minute update cycle. The Accuracy of a reference radar shows that bias is 2.01mm hr-1, RMSE is 3.55mm hr-1, and correlation coefficient is 0.89 in 10 rainfall cases from October 2011 to October 2012. Other studies also show that reference radar has more than 80% accuracy, on average, in both quantitative and qualitative tests (You et al., 2014; Jeong et al., 2014; Kim et al., 2015). The target radars that required Z-bias correction were 11 single-polarimeric radars (Baegnyeondo, Kwanaksan, Oseonsan, Jindo, Gosan, Seongsan, Gudeoksan, Myeonbongsan, Gangneung, Gwnagdeoksan, Incheon) with scan ranges of maximum 200km (C-band) and 240km (S-band), and a gate size of 0.250km, operated by the KMA, in Figure 2. Table 1(a) shows radars and rain-gauges used for estimating the Z-bias and the data period. Table 1(b) also shows the 18 rainfall cases (in the summer season) used for the verification of the Z-bias and R-bias correction methods.

[Figure 1. Locations of 642 observation rain gauges: (a) 321 rain gauge locations for the calibration, (b) 321 rain gauge locations for the validation]

[Figure 2. The location of 11 single-polarization radars, and the Bislsan S-band dual-polarization radar and their observation ranges]

[Table 1. A summary of the radars and rainfall cases]

2.2 Quantitative Precipitation Estimation Model

This study utilized the Radar-AWS Rain rate (RAR) calculation system (Hereafter the RAR system) for the QPE model. The RAR system, which was developed by the KMA in 2006, is operated on site, based on 11 single-polarimetric radars. The RAR system produces a merged rainfall field for the Korean Peninsula through a series of steps (production of the radar reflectivity field, calculation of AWS rainfalls, derivation of the Z-R relationship, etc.) (refer to Figure 3).

The RAR system estimates the Z-R relationship parameters for real-time rainfall estimates (Weather Radar Center, 2011). The RAR system utilizes 10-minute reflectivity and AWS rainfall, in the Window Probability Matching Method (WPMM) (Rosenfeld et al., 1993), to estimate the rainfalls in each radar site and the merged rainfalls of radar sites for producing composite rainfall fields. The used reflectivity, which are quality controlled (removal of non-meteorological echoes), are averaged on 3ⅹ3 pixels with a certain AWS as the centers are used. The WPMM method reproduces the probability density functions (pdfs) of ground rainfall from the AWSs, and radar reflectivity, and determines the Z-R relationship using these pdfs (refer to Equation (1) and (2)) (Rosenfeld et al., 1993).

f(Ze)Pc(Ze)dZe=RPc(R)dR                                                                                   (1)

Pc(R)=P(R|R>RT),  Pc(Ze)=P(Ze|Ze>ZeT)                                                             (2)

where Ze is the radar reflectivity (dBZ), Pc() is the conditional probability function, R is the rainfall (mm/hr), and T is the threshold.

The conditional probability functions in Equation (1) are derived from Equation (2), and the thresholds of rainfall and radar reflectivity are 0.1mm hr-1 and 10dBZ. The parameters of the Z-R relationship have been estimated using radar reflectivity and AWS rainfalls, from 1 prior, with the least square fit of the power law. The number of radar reflectivity and AWS rainfalls over a certain threshold are required in order to estimate the parameters accurately. If there is not enough data, the estimated rainfalls from that Z-R relationship are inaccurate. To overcome this limitation, if the number of available AWSs is more than 30% of those available in each radar site, the parameters of the Z-R relationship can be estimated. If it is less than 30%, Z=200R1.6 (Marshall and Palmer, 1948) is applied for the rainfall estimates (Korea Meteorological Administration, 2012b).

Secondly, the composite rainfall field for the whole country may be produced using each radar rainfall estimate; however, appropriate merging methods (including maximum value, average value, minimum value, and distance weighting methods) must be conducted because the scan ranges of the radar sites overlap. Because the maximum value method is applied to merge radar rainfalls by the KMA (Korea Meteorological Administration, 2012b), the identical method is also utilized in this paper.

[Figure 3. A flowchart of the Radar-AWS Rainrate calculation system]

2.3 Bias Correction Methods

2.3.1 Reflectivity Measurement Bias Correction Method

Weather radars continuously carry out measurement cycles, which include sending signals into the atmosphere and receiving and analyzing the return signals for meteorological observation. The measurement of the reflectivity itself suffers from hardware malfunctions (e.g. electronic miscalibration, signal misprocessing) and radar characteristics (e.g. attenuation). When converting radar reflectivity into rain rate (Z-R relationship) leads to an additional bias that can lower the accuracy of rainfall estimation. To estimate the Z-bias of the target weather radars, a reference weather radar that has been absolutely corrected is required. The Z-bias is defined as the difference between the reflectivity measured by the reference radar and that measured by the target radar, under the same spatial and temporal conditions (Weather Radar Center, 2012). The procedure of estimating the Z-bias is described as follows

- Calibration of the reference weather radar

This paper selected a Bislsan S-band dual-polarimeric radar (hereafter Bislsan dual-pol radar), which can be self-calibrated and is more accurate than the reference weather radar. To calibrate the Bislsan dual-pol radar, a self-consistency constraint method that uses the relationship between the reflectivity (Z), varied by the radar beam power and the specific differential phase (KDP) and affected by only the particle size or the concentration and not the radar beam power, was utilized (Gorgucci et al., 1992). The procedure of the self-consistency constraint method is as follows (Weather Radar Center, 2012).

- Derive the ZH-KDP relationship, theoretically, from the Drop Size Distributions (DSDs).

- Calculate the KDP for each radar pixel from the observed ZH, using the derived ZH-KDP relationship and the ΦDP as the integrating calculated KDP along each radial.

- Calculate the difference angle (θ) using a scatter plot between the calculated ΦDP, from (ii) and observed from the Bislsan dual-pol radar, and calculate the Z-bias (ε) by inputting the difference angle (θ) into Equation (3) and (4) (Lee, et al., 2006) (refer to Figure 4).

tanθ=i=1n(ΦDPcal−ΦDPobs)i=1nΦDPobs2                                                                                                (3)

ε(dB)=10blog(tanθ)                                                                                                            (4)

where, ΦDP_cal is the theoretical ΦDP from the DSDs, ΦDP_cal is the observed ΦDP from the dual-pol radar, θ is the difference angle, b is the empirical constant, and ε is the estimated Z-bias.

[Figure 4. Example for the procedure of the self-consistency constraint: Calculation of tan θ using Equation (3)]

- Calculation of Z-bias for the target weather radars

After calibration of the Bislsan dual-pol radar for the Z-bias was completed, the target single-pol radars that are located close to the reference radar were calibrated according to the reflectivity of the reference radar. The procedure for calculating the Z-bias of the target radars is as follows (Korea Meteorological Administration, 2011).

- Remove the beam-blockage area using the beam-blockage information (penetration ratio more than 90%).

- Reflect the accumulated attenuation effects, due to the rainfall, in the observed reflectivity (attenuation ratio less than 10%).

- Generate the 3-dimensional CAPPI for the reflectivity.

- Set up equidistant pairs between the reference and target radars, within 200km from the center of the reference radar; however, whenever a Bislsan dual-pol radar was the reference radar, the distance was within 100km.

- Compare the reflectivity of the reference and target radars, within a ±5km reflectivity overlap area,

- Calculate the reflectivity differences, at intervals of 0.5km from 1.5~3.5km altitude, with consideration to the ground clutter and the bright band, and average the reflectivity differences for the Z-bias of the target radar.

Figure 5 shows the concept of the Z-bias for the target radar, which has been calculated from the reflectivity differences in the overlap area, between the reference and the target radars. After the calibration of the target radar#1 for the Z-bias was completed, target radar #1 was the reference radar for target radar #2 (adjacent to target radar #1). The procedure mentioned above was equally applied for target radar #1 and #2, to calculate the Z-bias of target radar #2.

[Figure 5. The concept of calculating the Z-bias for the target radar, according to the reference radar reflectivity (Korea Meteorological Administration, 2011)]

2.3.2 Rainfall Estimation Bias Correction Methods

The estimated rainfall, based on the radars, has the QPE model bias (parameters of Z-R relationship, parameters of QPE model, QPE model structures, etc.) even if calibrated reflectivity is inputted into the QPE model. In this paper, the Mean Field Bias Correction (MFBC) method and the Local Gauge Correction (LGC) method have been applied to the outcomes from the QPE model, in order to correct the R-bias.

- Mean Field Bias Correction method

The fundamental concept of the MFBC method is that the bias correct factor (G/R ratio factor) is a mean field bias which is calculated as the ratio of the spatial average (mean), between the rainfalls, estimated using radars and observed rainfall at a corresponding field (or point, pixel). Then corrected rainfall is calculated by multiplying the G/R ratio factor, and the radar rainfall estimates. The equation of the MFBC method is as follows.

G/R ratio factor= i=1nGii=1nRi                                                                                           (5)

where, Gi is the rainfall of the ith rain gauge, Ri is the radar rainfall estimates of the ith point (or pixel), and n is the total number of the ground rain gauge. In the case of utilizing the MFBC method in a certain area (or for a certain period), the identical G/R ratio factor is uniformly applied to radar rainfall estimates all over the area.

- Local Gauge Correction method

This study dealt with the Local Gauge Correction (LGC) method, which has been employed in the NMQ (National Mosaic and QPE) of the NOAA (National Oceanic and Atmospheric Administration) and NSSL (National Severe Storms Laboratory) (Zhang et al., 2011). The LGC method, which assigns the weights to a bias between the ground rainfall detected by AWSs and the radar rainfall estimates, is a modified version of the Inverse Distance Weighting (IDW) method. The LGC method is able to correct local bias which affect rainfall cases by modifying the rainfall estimates by radar in each pixel. The procedure of the LGC method is as follows (refer to Figure 6):

This paper defined that rLGC,i is the corrected rainfall estimates in a certain point i, ri is the radar rainfall estimates in a certain radar pixel i, and Re,i is the expected error estimates. This relationship is expressed by the following equation (Zhang et al., 2011):

STEP 1: rLGC,i= ri – Re,i= rLGC,i(b, D)                                                                                       (6)

where D is the effective radius for calculating the radar rainfall bias, b is the weight of the variable d, and d is the distance between the AWSs and the radar pixels in following equation (7) and (8). The estimated weights, according to Equation (7) and (8), are applied to Equation (6) (Zhang et al., 2011).

Re,i=j=1mejwjj=1mwj                                                                                                               (7)

If general, wj=1djb (if dj≤D) or 0 (if dj>D)

If the numbers of AWS in the region are sparse,

α=j=1mexp[−dj2(D2)2] ; wj=α×1djb (if dj≤D) or 0 (if dj>D)                   (8)

where ej is the error between the rainfalls observed from the AWSs (gj) and the radar rainfall estimates (rj), w is the weight of the error (=rj – gj), j is the jth AWS, m is the number of AWSs within the effective radius, and α is the impact factor. If the α is more than one, the number of AWSs is enough for the rainfall-bias correction. Otherwise, if it is less than one, if the number of AWSs is sparse (the α is less than one), the revised weights have been calculated by multiplying α with the original weights (wj=α×1dj2).

Ei is defined as the difference between the rLGC from STEP 1 and the ground rainfall, gi,, and it depends on b and D.

STEP 2: Ei= rLGC – gi= Ei(b, D)                                                                                               (9)

The Mean Square Error (MSE) for Ei is expressed as Equation (10), and it also depends on parameters b and D. The parameters of the LGC method (b and D) have been determined using the cross-validation scheme to minimize the MSE value, and applied to Equation (8) to calculate the radar rainfall estimates, rLGC.

STEP 3: MSE= i=1nEi2n= MSE(b, D)                                                                                  (10)

This paper has assumed that the scan range of the radars (D) is the maximum range (240km) used by all AWSs on the Korean Peninsula. Although it takes a long time to carry out the LGC algorithm under this assumption, it is considered to be appropriate to verify the improvement of the radar rainfall estimates using the LGC method.

Since the LGC method is highly dependent on the number of AWSs that are available and accurate, a quality control algorithm for the AWSs has been conducted to remove lower-quality AWSs that have larger expected errors than the others. The conditions checked by the quality control are as follows: (i) For a certain AWS, if the number of pixels having a DR,E less than 5mm are less than 25% of the total pixels, a certain AWS is designated as an ‘abnormal AWS’ and is thus removed. DR,E  are the  differences between Re,i and Ei, within 10-km radius from location of a certain AWS. (ii) The LGC method has been conducted until the number of available AWSs was more than 90% of all the filtered AWSs. If this procedure is stopped, a calculated rLGC at the present stage is used for the corrected rainfall estimates. (iii) The procedure of the LGC method is finally finished after repeating the routine more than approximately four times. Furthermore, if the ratio of the abnormal AWSs is more than 7%, the procedure of the LGC method is also finished (Korea Meteorological Administration, 2012). The thresholds from (i), (ii), and (iii) were decided using the stepwise method, and are appropriate for the LGC method applied to the RAR calculation system. However, since the thresholds are somewhat subjective, it is considered that future studies should be conducted that deal with this limitation.

[Figure 6. A flowchart of the Local Gauge Correction Method]

3. APPLICATION AND RESULTS

3.1 Application of the Reflectivity Measurement Bias Correction Method

In Section 2.2.1, the reflectivity measurement bias (Z-bias) for the Bislsan dual-pol radar have been estimated using the self-consistency constraint method that employs the relationship between reflectivity (Z) and a specific differential phase (KDP) during the calibration period. The Z-bias of the Bislsan dual-pol radar was estimated to be -2.61dB, with the result that the calculated tanθ [which was 0.58° from Equation (1)] was inputted into Equation (4). The Bislsan dual-pol radar was self-calibrated, using its Z-bias. For estimating the Z-bias of the target radars, first of all, the pairs between the reference radar and the target radar were set up (refer to Table 2). Then, the averaged Z-biases of the 11 single-pol radars operated by the KMA, as the target radars were estimated sequentially from the beginning using the Bislsan dual-pol radar as the reference radar (refer to Figure 7 and Table 3). The Z-biases of the BRI and the JNI sites were -7.87dB (the largest) and -1.16dB (the smallest) and the Z-bias, on average, was -4.52dB. The radar rainfall estimates, in particular, were underestimated due to the fact that all of the Z-bias had negative values.

To verify the improvement of the radar rainfall estimates, the RAR system, which reflected the Z-bias of all the radar sites, was used to calculate the rainfall estimates of 18 cases in the summer season. Figure 8 shows that after applying the Z-bias to the RAR system, the accuracy of the rainfall estimates improved as shown by the Root Mean Square Error (RMSE) and the correlation coefficient, which ranged from 7.37mm hr-1, 0.83, 7.21, and 0.84 mm hr-1 on average, respectively.

For each rainfall type, the accuracy of the rainfall estimates in the Changma front cases improved as showed by the RMSE which ranged from 7.43 to 7.36mm hr-1. The accuracy of local torrential rainfall cases (RMSE= 7.43mm hr-1) was similar to the results without the application of the Z-bias (RMSE= 7.36mm hr-1). In particular, the accuracy of typhoon cases deceased compared to the existing results (from 9.08 to 11.04mm hr-1 by the RMSE). This was due to the application of Z-bias to each radar site in the RAR system, which has increased the rainfall estimates for the whole country. The accuracy of Changma front cases, which occur nationwide, was improved. However, because the cases of local torrential rainfalls and typhoons occurred locally, the accuracy in these cases was negatively impacted. In Figure 9(a), in Case 12 at 1500 LST on August 10 2012, the image before the application of the Z-bias is shown, and Figure 9(b) shows the image after the Z-bias correction. The rainfall estimates, in the black dash circles on the partial magnification image in Figure 9(b), are stronger than those in Figure 9(a), since the rainfall estimates were increased by the Z-bias correction. For these reason we proven that the Z-bias correction proposed by this paper has improved the accuracy of the rainfall amounts in the RAR system.

[Table 2. The radar pairs for estimating the Z-bias of each radar site]

[Figure 7. The sequence of the Z-bias estimation for each radar site]

[Table 3. Z-bias for each radar site]

[Figure 8. A comparison of the accuracy of the rainfall estimates for each rainfall case, before and after the Z-bias correction: (a) RMSE; (b) correlation coefficient]

[Figure 9. A comparison of rainfall amounts images in the RAR system, before and after the Z-bias correction, in Case 12 (at 1500 LST on August 10 in 2012): (a) Before the Z-bias correction; (b) After the Z-bias correction]

3.2 Application of the Rainfall Estimation Bias Correction methods

The R-bias correction methods were conducted after the Z-bias correction which results are shown in Section 3.1. To verify the improvement of the radar rainfall amounts estimated by the R-bias correction, the RAR system (with the rainfall-bias correction) was conducted for 18 summer season cases over the verification period. This paper defined that the results with only the Z-bias correction were identified as ‘Z-bias’, the results with the Z-bias correction and the MFBC method were identified as ‘Z-bias_MFBC’, and the results with the Z-bias correction and the LGC method were identified as ‘Z-bias_LGC’.

As a result of the R-bias correction methods, Table 4 shows results of the two R-bias correction methods in terms of the accuracy and rainfall types. In Table 4(a), Mean Absolute Error (MAE) of the Z-bias, Z-bias_MFBC, and Z-bias_LGC were 3.65, 3.37, and 2.19mm hr-1, respectively. Among them, the accuracy of the Z-bias_LGC was superior to the others. The accuracy of the RAR system is improved by about 7.4% by considering the RMSE values which ranged from 7.21 to 6.68mm hr-1 in the Z-bias_MFBC and is also improved by about 63.7% (from 7.21 to 2.62mm hr-1 by RMSE) in the Z-bias_LGC.  In the correlation coefficient, the accuracy of the RAR system was also improved by about 10.7% (from 0.84 to 0.93) in the Z-bias_MFBC and 11.7% (from 084 to 0.94) in the Z-bias_LGC. Therefore we proven that the accuracy of the radar rainfall estimates was improved with application of R-bias correction methods (applied after the Z-bias correction) more than the case in which only the Z-bias correction method is applied. Especially, among the R-bias correction methods, the Z-bias_LGC is better than the others; because although the same R-bias was applied to the overall application region in the MFBC method, different R-bias were applied to each rainfall amount by the radar pixel in the LGC method. In Table 4(b), although the correlation coefficients in the Z-bias correction were similar to all the rainfall types, typhoon cases had the lowest accuracy in terms of RMSE. As a result of the Z-bias_MFBC, the correlation coefficients in all types were improved when compared with the Z-bias. While the accuracy of the Z-bias_MFBC in terms of RMSE is greater than the Z-bias accuracy, with the exception of the Changma front cases, the results of the typhoon cases were less accurate with respect to others as always. The results obtained by  Z-bias_LGC showed that the accuracy of the rainfall estimates for all types by considering RMSE and the correlation coefficients was better than that obtained by only the Z-bias. Especially, the results in the typhoon were vastly superior to the other types. Figure 10 explains that the RMSEs by the Z-bias_LGC of all cases were outstanding in Figure 10(a) and, while the correlation coefficients by the Z-bias_MFBC were not much different to the Z-bias_LGC on average, only the Z-bias correction results were generally lower in Figure 10(b).

Figure 11 shows the rainfall estimate images of the AWS, the Z-bias, the Z-bias_MFBC, and the Z-bias_LGC in Case 12 (at 1500 LST on August 10th, 2012) and Case 18 (at 1100 LST on August 30th, 2012). In Figure 10(a) in Case 12, the maximum rainfall amount in the AWSs was 48.0mm hr-1, and the black arrows indicate the strongest rainfall fields. Figure 11(b) shows that since the displayed rainfall regions were similar to the AWSs, the rainfall amounts were underestimated in the whole area. As an image of the Z-bias_MFBC in Figure 11(c), the rainfall amounts in the black circle were closer to the AWSs than Figure 11(b). Especially, in Figure 11(d), the rainfall estimates which ranged from 40 to 50mm hr-1 in the regions (indicated by black arrows in a black circle) is closer to the AWSs than others. In Figure 12(a) in Case 18, the maximum rainfall amount in the AWSs was 54.0mm hr-1 and the rainfall fields indicated by the black arrows were stronger than the others. Particularly, the rainfall zones (the black dash line) from the southwest to the northeast occurred due to the direct effects of Typhoon Tembin along its track (the purple line). Figure 12(b) shows that the rainfall amounts in only the Z-bias were much underestimated in the whole area. By contrast, Figure 12(c) shows the rainfall amounts increased by the Z-bias_MFBC, especially the maximum rainfall estimates in region ⓐ (which was located in the southeast of the Tembin), and the rainfall zones ⓑ located from the southwest to the northeast. However, the rainfall estimates in region ⓐ were a little underestimated, and rainfall amounts in region ⓑ were more stronger than Figure 12(a). In Figure 12(d), since rainfall estimates in region ⓒ were stronger than for region ⓐ, and region ⓓ had lighter rainfall amounts than region ⓑ, an image of the rainfall estimates in the Z-bias_LGC was coterminous with the AWSs.

[Table 4. The application results of the rainfall estimation bias correction methods]

[Figure 10. A comparison of the rainfall estimation accuracy for each rainfall in the Z-bias correction, Z-bias_MFBC, and Z-bias_LGC methods: (a) RMSE; (b) correlation coefficient]

[Figure 11. A comparison of the rainfall amounts images between the AWS and the bias correction method results in Case 12 (at 1500 LST on August 10, 2012): (a) the AWS; (b) the Z-bias correction; (c) the Z-bias_MFBC method; (d) the Z-bias_LGC method]

[Figure 12. A comparison of the rainfall amounts images between the AWS and the bias correction method results in Case 18 (at 1100 LST on August 30, 2012): (a) the AWS; (b) the Z-bias correction; (c) the Z-bias_MFBC method; (d) the Z-bias_LGC method]

4. CONCLUSIONS

This paper focuses on correcting the Z-bias and the R-bias to improve the rainfall estimates by weather radars. The reference radar, a Bislsan S-band dual-polarimetric radar that was self-calibrated with the self-consistency constraint method (using the relationship between Z and KDP) was utilized to calculate the Z-bias of all target radar sites; the Z-bias were applied to the QPE model with the RAR system. The MFBC and LGC methods, which correct R-bias, have also been applied to the RAR system to improve the accuracy of the radar rainfall estimates.

As a result of the Z-bias correction in 18 summer season cases, the accuracy of the rainfall estimates improved by considering the RMSE (from 7.37mm hr-1 and 7.21mm hr-1) and the correlation coefficient (from 0.83 to 0.84) on average. For rainfall types, the accuracy of the rainfall estimates applied by Z-bias correction in the Changma front and local torrential cases were improved. In particular, the accuracy of typhoon cases was worse than the other results which ranged from 9.08mm hr-1 to 11.04mm hr-1. The reason for this is that the application of the Z-bias to each radar site in the RAR system increased the rainfall estimates for the whole country. The accuracy of the Changma front cases, which occur nationwide, was improved; however, because cases of torrential rainfalls and typhoons have occurred locally, the accuracy of these cases was worse. In comparison with rainfall images, rainfall estimates with the Z-bias correction have been established to be stronger than the other images.

For results of the R-bias correction methods, the accuracy of the RAR system applied by the Z-bias_MFBC was improved by 7.4% and 10.7% by considering the RMSE and the correlation coefficient, respectively, in comparison with only the Z-bias correction. The accuracy of results by the Z-bias_LGC was also better than the others (63.7% in terms of RMSE and 11.7% in terms of the correlation coefficient). In fact, in the Z-bias_MFBC method only one bias was applied to the whole area. Vice versa, in the Z-bias_LGC method it has a different bias for each radar pixel. For the rainfall types, the accuracy of results by the Z-bias_LGC was better than that obtained by only Z-bias correction in terms of the RMSE and the correlation coefficient. Especially, the results in the typhoon were vastly superior to the other types.

Therefore, in this paper, we have proven that the accuracy of the rainfall estimates in the RAR system was improved with application of the R-bias correction with Z-bias correction. These bias correction methods proposed by this paper are able to contribute to the RAR system, in the work-site operation and to the fundamental bias correction research.

Acknowledgements: This research was supported by the Daejin University Research Grants in 2015.

References

Austin, P.M., 1987: Relation between measured radar reflectivity and surface rainfall. Monthly Weather Review, 115, 1053–1070.

Campos, E., and I. Zawadzki, 2000: Instrumental uncertainties in Z–R relations. Journal of Applied Meteorology, 39, 1088–1102.

Chumchean S., Sharma, A., and Seed, A., 2006: An integrated approach to error correction for real-time radar-rainfall estimation. Journal of Atmospheric and Oceanic Technology, 23, 67-79.

Ehret, U. 2002: Rainfall and flood nowcasting in small catchments using weather radar. PhD Thesis, University of Stuttgart, Germany.

Germann, U., Galli, G., Boscacci, M., and Bolliger, M., 2006: Radar precipitation measurement in a mountainous region. Quarterly Journal of the Royal Meteorologic Society, 132, 1669–1692.

Gorgucci, E., Scarchilli, G., and Chandrasekar V., 1992: Calibration of radars using polarimetric techniques, IEEE Transactions on Geoscience and Remote Senssing, 30,  853-858.

Huff, F.A., 1970: Sampling errors in measurement of mean precipitation. Journal of Applied Meteorology, 9, 35–44.

Jeong, J., Yu, M., and Yi., J., 2014: Runoff analysis using dual polarization radar and distributed model, Journal of Korea Water Resources Association, 47, 801-812.

Jordan, P., Seed, A., Austin, G., 2000: Sampling errors in radar estimates of rainfall. Journal of Geophysical Research: Atmospheres, 105, 2247–2257.

Kim, D.-S., Kang, M.-Y., Lee, D.-I., Kim, J.-H., Choi, B.-C., and Kim, K. E., 2006: Reflectivity Z and differencial reflectivity ZDR correction for polarimetric radar rainfall measurement. Proceeding of the Spring Meeting of Korean Meteorological Society, April 27, 2006, Gwangju, Korea, 130-131.

Kim, J.-B., Choi, W.-S., and Bae, D.-H., 2015: Assessment of dual-polarization radar for flood forecasting, Journal of Korea Water Resources Association, 48, 257-268.

Korea Meteorological Administration, 2011: Development of collaboration management system for radar data (I). KMA Weather Radar Center.

Korea Meteorological Administration, 2012a: Development of Radar-based Multi-sensors Quantitative Precipitation Estimation Technique Report, Weather Radar Center.

Korea Meteorological Administration, 2012b: Radar rainfall estimation comparison and verification joint experiment report. Weather Radar Center and Meteorological Advancement Council, Korea Meteorological Administration.

Krajewski, W.F., Smith, J., 2002: Radar hydrology: rainfall estimation. Advanced Water Resources. 25, 1387–1394.

Lee, G.W. 2006: Sources of errors in rainfall measurements by polarimetric radar: variability of drop size distributions, observational noise, and variation of relationships between R and polarimetric parameters. Journal of Atmospheric and Oceanic Technology, 23, 1005-1028.

Marshall, J.S. and Palmer, W.M. 1948: The distribution of raindrops with size. Journal of Meteorology, 5, 165-166.

McMillan, H., Jackson, B., Clark, M., Kavetski, D., and Woods, R. 2011: Rainfall uncertainty in hydrological modeling: An evaluation of multiplicative error models, Journal of Hydrology, 400, 83-94.

Morin, E. and Gabella, M., 2007: Radar-based quantitative precipitation estimation over Mediterranean and dry climate regimes. Journal of Geophysical Research, 112, D20108.doi:10.10029/2006JD008206.

Moulin, L., Gaume, E., Obled, C., 2009: Uncertainties on mean areal precipitation: assessment and impact on streamflow simulations. Hydrology and Earth System Sciences, 13, 99–114.

Oh, H.-M., Ha, K.-J, Kim, K.-E., and Bae, D.-H. 2003: Precipitation rate combined with the use of optimal weighting of radar and rain gauge data. Atmosphere, Korean Meteorological Society, 13, 316-317.

Rosenfeld, D., Wolff, D.B., and Atlas, D., 1993: General probability-matched relations between radar reflectivity and rain rate, Journal of Applied Meteorology, 32, 50-72.

Sebastianelli, S., Russo, F., Napolitano, F., and Baldini, L., 2013: On precipitation measurements collected by a weather radar and a rain gauge network, Natural Hazards and Earth System Sciences, 13, 605-623

Seo, D. J., Breidenbach, J., Fulton R., O’Bannon, T., and Miller D., 2000: Real-time adjustment of range-dependent biases in WSR-88D rainfall estimates due to nonuniform vertical profile of reflectivity, Journal of Hydrometeorology, 1, 222–240.

Sinclair, S. and Pegram, G. 2005: Combining radar and rain gauge rainfall estimates using conditional merging. Atmospheric Science Letters, 6, 19-22.

Villarini, G., 2008: Empirically-based modeling of radar-rainfall uncertainties. Ph.D. thesis, The University of Iowa, 321.

Villarini, G., and Krajewski, W.F., 2008: Empirically-based modeling of spatial sampling uncertainties associated with rainfall measurements by rain gauges. Advanced Water Resources., 31, 1015–1023.

Villarini, G., Serinaldi, F., and Krajewski, W.F., 2008: Modeling radar-rainfall estimation uncertainties using parametric and non-parametric approaches. Advances in Water Resources, 31, 1674-1686.

Villarini, G., and Krajewski, W.F., 2010: Sensitivity studies of the models of radar-rainfall uncertainties. Journal of Applied Meteorology and Climatology, 49, 288-309.

Villarini, G., Mandapaka, P.V., Krajewski, W.F., and Moore, R. J., 2008: Rainfall and sampling errors: A rain gauge perspective. Journal of Geophysical Research, 113, D11102, doi:10.1029/2007JD009214.

Weather Radar Center, 2013. Development of integrated quality control algorithm for Korean radar data. Korea Meteorological Administration.

Wilson, J.W., Brandes, E.A., 1979: Radar measurement of rainfall. Bulletin of American Meteorological Society, 60, 1048–1058.

Woodley, W., Olsen, A., Herndon, A., and Wiggert, V., 1975: Comparison of gage and radar methods of convective rain measurement. Journal of Applied Meteorology, 14, 909–928.

Yoo, C., Kim, J., Yoon, J., Park, C., Park, C., and Jun, C., 2011: Use of the Kalman filter for the correction of mean-field bias of radar rainfall, The 5th Korea-Japan-China Joint Conference on Meteorology, Busan, Korea.

You, C.-H., Lee, D.-I., and Kang, M.-Y., 2014: Rainfall estimation using specific differential phase for the first operational polarimetric radar in Korea, Advances in Meteorology, Article ID 413717. http://dx.doi.org/10.1155/2014/413717.

Zawadzki, I., 1984: Factors affecting the precision of radar measurements of rain, in: Proceeding of the 22nd Conference of Radar Meteorology, Zurich, Switzerland, 10-13 September 1984, American Meteorology Society, 251-256.

Zhang, J., Howard, K., Langston, C., Vasiloff, S., Kaney, B., Arthur, A., Cooten, V.C., Kelleher, K., Kitzmiller, D., Ding, F., Seo, D.-J., Wells, E., and Dempsey, C., 2011: National mosaic and multi-sensor QPE(NMQ) system: Desscription, results, and future plans. Bulletin of the American Meteorological Society, 92, 1321-1338.

Zhang, Y., Adams, T., and Bonta, J.V., 2007: Subpixelscale rainfall variability and the effects on the separation of radar and gauge rainfall errors. Journal of Hydrometeorology, 8, 1348–1363.

---------------------------------- The end of the manuscript --------------------------------------------

List of Tables

Table 1. Summary of the Radars and Rainfall Cases

Table 2. Radar pairs for estimating the Z-bias of each radar site

Table 3. Z-bias for each radar site

Table 4. The application results of the rainfall estimation bias correction methods

List of Figures

Figure 1. Locations of 642 observation rain gauges: (a) 321 rain gauge locations for the calibration, (b) 321 rain gauge locations for the validation

Figure 2. Location of 11 single-polarization radars and the Bislsan S-band dual-polarization radar and their observation ranges

Figure 3. Example for the procedure of the self-consistency constraint: Calculation of tan θ using equation (1)

Figure 4. The concept of calculating Z-bias for the target radar according to the reference radar reflectivity (Korea Meteorological Administration, 2011)

Figure  5. Flowchart of the Local Gauge Correction method

Figure 6. Flowchart of the Radar-AWS Rainrate calculation system

Figure 7. Sequence of the Z-bias estimation for each radar site

Figure 8. Comparison of the accuracy of rainfall estimates for each rainfall case before and after the Z-bias correction: (a) RMSE; (b) correlation coefficient

Figure 9. Comparison of rainfall amounts images in the RAR system before and after the Z-bias correction in Case 12 (at 1500 LST on August 10 in 2012): (a) Before the Z-bias correction; (b) After the Z-bias correction

Figure 10. Comparison of the rainfall estimation accuracy for each rainfall in the Z-bias correction, Z-bias_MFBC, and Z-bias_LGC methods: (a) RMSE; (b) correlation coefficient

Figure 11. Comparison of the rainfall amounts images between the AWS and the bias correction method results in Case 12 (at 1500 LST on August 10 in 2012): (a) the AWS; (b) the Z-bias correction; (c) the Z-bias_MFBC method; (d) the Z-bias_LGC method

Figure 12. Comparison of the rainfall amounts images between the AWS and the bias correction method results in Case 18 (at 1100 LST on August 30 in 2012): (a) the AWS; (b) the Z-bias correction; (c) the Z-bias_MFBC method; (d) the Z-bias_LGC method

Table 1. A summary of the radars and rainfall cases

- Summary of the radars and rainfall data used for calculating observational biases

| Items | Details |
| --- | --- |
| Reference radar | Bislsan S-band dual-polarization radar (Maximum observation range: 150 km; Gate size: 0.125 km; Elevation: 6 angles; Update: every 2.5 minute interval) |
| Target radar | 11 single-polarization radars operated by the Korea Meteorological Administration: Baegnyeondo (BRI, S-band), Kwanaksan (KWK, S-band), Oseonsan (KSN, S-band), Jindo (JNI, S-band), Gosan (GSN, S-band), Seongsan (SSP, S-band), Gudeoksan (PSN, S-band), Myeonbongsan (MYN, C-band), Gangneung (GNG, S-band), Gwnagdeoksan (GDK, S-band), Incheon (IIA, C-band) |
| Calibration data | Rainfall cases from 1 June to 31 August in 2012 |

- Rainfall cases used for the verification

| Items | Period (LST) | Sources |
| --- | --- | --- |
| Case 1 | 20120608 0600 - 20120608 1900 | Local torrential rainfalls |
| Case 2 | 20120615 0500 - 20120616 0400 | Changma front |
| Case 3 | 20120618 0000 - 20120619 1300 | Changma front |
| Case 4 | 20120623 1300 - 20120624 1900 | Local torrential rainfalls |
| Case 5 | 20120629 0800 - 20120701 0100 | Changma front |
| Case 6 | 20120705 0400 - 20120707 0200 | Changma front |
| Case 7 | 20120710 1000 - 20120711 1900 | Changma front |
| Case 8 | 20120712 2330 - 20120713 0730 | Changma front |
| Case 9 | 20120714 0800 - 20120715 1500 | Changma front |
| Case 10 | 20120716 2300 - 20120717 2200 | Changma front |
| Case 11 | 20120718 1400 - 20120719 1300 | Typhoon |
| Case 12 | 20120810 0300 - 20120810 2200 | Local torrential rainfalls |
| Case 13 | 20120812 0500 - 20120813 1500 | Local torrential rainfalls |
| Case 14 | 20120814 1700 - 20120816 2300 | Local torrential rainfalls |
| Case 15 | 20120819 1600 - 20120822 2100 | Local torrential rainfalls |
| Case 16 | 20120822 2200 - 20120825 1100 | Local torrential rainfalls |
| Case 17 | 20120827 1300 - 20120828 1800 | Changma front and Typhoon |
| Case 18 | 20120829 1500 - 20120830 2300 | Typhoon |

Table 2. The radar pairs for estimating the Z-bias of each radar site

| Reference radar | Target radar | Reference radar | Target radar |
| --- | --- | --- | --- |
| BSL | KSN, PSN, MYN | IIA | BRI |
| KSN | JNI | KSN | KWK |
| JNI | GSN, SSP | KWK | GDK |
| KWK | IIA | GDK | GNG |

Table 3. Z-bias for each radar site

| Radar site | Z-bias (dB) | Radar site | Z-bias (dB) |
| --- | --- | --- | --- |
| BRI | -7.87* | JNI | -1.16 |
| GDK | -4.29 | KSN | -4.87 |
| GSN | -3.99 | KWK | -5.15 |
| GNG | -4.77 | MYN | -5.63 |
| IIA | -5.19 | PSN | -2.28 |
| SSP | -4.50 |  |  |

* Z-bias on average during the calibration period

Table 4. The application results of the rainfall estimation bias correction methods

- Total average

| Method | MAE (mm hr-1) | RMSE (mm hr-1) | Correlation coefficient |
| --- | --- | --- | --- |
| None | 3.80 | 7.37 | 0.83 |
| Z-bias | 3.65 | 7.21 | 0.84 |
| Z-bias_MFBC | 3.37 | 6.68 (7.4%*) | 0.93 (10.7%) |
| Z-bias_LGC | 2.19 | 2.62 (63.7%) | 0.94 (11.7%) |

* represents the change ratio related to the Z-bias correction results in terms of RMSE and correlation coefficient

- Accuracy on average for each rainfall type

| Method | Types | Averaged RMSE (mm hr-1) | Averaged correlation coefficient |
| --- | --- | --- | --- |
| Z-bias | Changma front | 5.64 | 0.87 |
|  | Local torrential rainfall | 7.36 | 0.81 |
|  | Typhoon | 11.04 | 0.83 |
| Z-bias_MFBC | Changma front | 5.75 | 0.93 |
|  | Local torrential rainfall | 6.74 | 0.95 |
|  | Typhoon | 9.00 | 0.86 |
| Z-bias_LGC | Changma front | 2.49 | 0.95 |
|  | Local torrential rainfall | 2.69 | 0.94 |
|  | Typhoon | 2.81 | 0.93 |

Fig. 1. Locations of 642 observation rain gauges: (a) 321 rain gauge locations for the calibration, (b) 321 rain gauge locations for the validation

Fig. 2. The location of 11 single-polarization radars, and the Bislsan S-band dual-polarization radar and their observation ranges

Fig. 3. A flowchart of the Radar-AWS Rainrate calculation system

Fig. 4. Example for the procedure of the self-consistency constraint: Calculation of tan θ using Equation (3)

Fig. 5. The concept of calculating Z-bias for the target radar, according to the reference radar reflectivity (Korea Meteorological Administration, 2011)

Fig. 6. A flowchart of the Local Gauge Correction method

Fig. 7. The sequence of the Z-bias estimation for each radar site

Fig. 8. A comparison of the accuracy of the rainfall estimates for each rainfall case, before and after the Z-bias correction: (a) RMSE; (b) correlation coefficient

Fig. 9. A comparison of rainfall amounts images in the RAR system, before and after the Z-bias correction, in Case 12 (at 1500 LST on August 10 in 2012): (a) Before the Z-bias correction; (b) After the Z-bias correction

Fig. 10. A comparison of the rainfall estimation accuracy for each rainfall in the Z-bias correction, Z-bias_MFBC, and Z-bias_LGC methods: (a) RMSE; (b) correlation coefficient

Fig. 11. A comparison of the rainfall amounts images between the AWS and the bias correction method results in Case 12 (at 1500 LST on August 10, 2012): (a) the AWS; (b) the Z-bias correction; (c) the Z-bias_MFBC method; (d) the Z-bias_LGC method

Fig. 12. A comparison of the rainfall amounts images between the AWS and the bias correction method results in Case 18 (at 1100 LST on August 30, 2012): (a) the AWS; (b) the Z-bias correction; (c) the Z-bias_MFBC method; (d) the Z-bias_LGC method