**A new method of inferring the size, number density, and charge of mesospheric dust from its in situ collection by the DUSTY probe.**

Ove Havnes1, Tarjei Antonsen1, Gerd Baumgarten2, Thomas W. Hartquist3, Alexander Biebricher4, Åshild Fredriksen1, Martin Friedrich5, Jonas Hedin6.

1 Institute of Physics and Technology, Arctic University of Norway, Tromsø, Norway

2 Leibniz-Institute of Atmospheric Physics at Rostock University, Kühlungsborn, Germany

3 School of Physics and Astronomy, University of Leeds, Leeds LS2 9JT, UK

4 Norwegian Center for Space-related Education, N-8480 Andenes, Norway

5 Graz University of Technology, 8010 Graz, Austria

6 Department of Meteorology, Stockholm University, 10691 Stockholm, Sweden.

*Correspondence to:* Ove Havnes (ove.havnes@uit.no)

**Abstract.** We present a new method of analyzing measurements of mesospheric dust made with DUSTY rocket-borne Faraday cup probes. It can yield the variation of fundamental dust parameters through a mesospheric cloud with an altitude resolution down to 10 cm or less if plasma probes give the plasma density variations with similar height resolution. A DUSTY probe was the first probe which unambiguously detected charged dust/aerosol particles in the Earth’s mesosphere. DUSTY excluded the ambient plasma by various biased grids, which however allowed dust particles with radii above a few nanometer to enter, and it measured the flux of charged dust particles. The flux measurements directly yielded the total ambient dust charge density.

We extend the analysis of DUSTY data by using the impact currents on its main grid and the bottom plate as before, together with a dust charging model and a secondary charge production model, to allow the determination of fundamental parameters, such as dust radius, charge number and total dust density. We demonstrate the utility of the new analysis technique by considering observations made with the DUSTY probes during the MAXIDUSTY rocket campaign in June-July 2016 and comparing the results with those of other instruments (Lidar and photometer) also used in the campaign. In the present version we have used mono-disperse dust size distributions.

**1 Introduction.**

The Earth’s mesosphere has for a long time been the least known part of the Earth’s atmosphere, and it probably still is. One reason for this is its inaccessibility to direct in situ observations – it being too high for balloons and planes, and too low for satellites. Its main cloud phenomena, the noctilucent clouds (NLC) which occur in its polar regions, were first observed in 1885 (Jesse, 1885; Backhouse, 1885; Symons, 1888, Gadsden and Schröder, 1989). They are the highest altitude clouds in the Earth’s atmosphere. It now appears that the NLC occurrence frequency is increasing with time and that the NLC spread further away from the poles with time (DeLand et al., 2007, Lübken et al., 2018)), possibly due to changes in the composition of trace elements, like water vapor, in the mesosphere region. As such, one reason for the interest to understand the mesosphere is that it may be an indicator of climatic changes in the troposphere and stratosphere (Thomas, 1996). Another reason is that the mesosphere is the transition zone, between the outer space and the lower part of the atmosphere, where energetic particle precipitation, meteors and UV radiation normally deposit most of their energy. Disturbed magnetosphere conditions, with high energy particle precipitation, can create large amounts of reactive NOx molecules which, when transported downwards, react with and reduce the ozone content (Reddman et al., 2013). Also, there is an influx of meteorites into the Earth’s atmospheres, the total mass of which has been claimed to be from 4 to 300 t/day (Plane 2012; Asmus et al., 2015, Carrillo-Sánchez et al., 2016). Many of the meteorites evaporate as they are heated due to air friction when they enter the atmosphere, and the evaporated material re-condenses and creates nanometer sized particles, the meteoric smoke particles (MSPs) (Rosinski and Snow, 1961; Hunten et al., 1980, Hervig et al., 2017). The MSPs are thought to be crucial in creating NLC, where they probably act as condensation sites for water vapor to form the larger icy NLC particles, but homogeneous condensation may also be part of the cause of this (Turco et al., 1982; Rapp and Thomas, 2006). In the growth process the icy NLC particles, growing by water vapor condensing on them, also capture MSPs, so that NLC particles will have MSPs embedded in them (Havnes and Naesheim, 2007; Havnes et al., 2009; Hervig et al., 2012, 2017). It also appears that the MSPs, when transported downwards, can influence on the cloud formation in the stratosphere and possibly also the troposphere (Ogurtsov and Raspopov, 2011).

In order to understand the mesosphere it is crucial to understand the evolution and role of various types of dust particles in it, such as the icy NLC and Polar Mesospheric Summer Echoes (PMSE) particles, and MSPs which probably also are present in the winter mesosphere to create the weak radar PMWE (Polar Mesospheric Winter Echoes) clouds (Czechovsky et al., 1979; Zeller et al., 2006; Latteck and Strelnikova, 2015). The progress in ground based instrumentation and observing techniques during the last few decades has been impressive. For example, lidars now routinely observe in full daylight to determine NLC particle sizes and densities (Baumgarten et al., 2007) and they also measure the metallic content in the mesosphere (Huang et al, 2015) and mesospheric temperatures (Höffner and Lautenbach, 2009). The powerful new MST radar MAARSY with its large increase in sensitivity has profoundly changed our knowledge of PMSE occurrence rates and the altitude ranges in which they can be found (Latteck and Strelnikova, 2015). Satellites have identified MSP cloud layers by observing along them (Hervig et al., 2009) and have also confirmed earlier predictions (Havnes and Næsheim, 2007; Havnes et al., 2009; Kassa et al., 2012) that MSPs are embedded in the icy NLC/PMSE particles with from 0.01 to 3% by volume (Hervig, 2012).

One of the obvious advantages of the ground based instrumentation and satellites, is that they can observe the mesospheric clouds continuously. However, they have a limited space resolution (ca. 100 m and upwards) and time resolution (seconds and upwards). Rocket instrumentation, on the other hand, although presenting only a snapshot of the conditions along its trajectory, observe with a time resolution typically of ~ 10-3 to 10-4 seconds, corresponding to a spatial resolution of ~ 0.1 to 1 m. Various rocket probes are developed to observe the plasma conditions (Friedrich and Rapp, 2009), the dust charge density (Havnes et al., 1996a), the total density of small dust (MSP) by a flashing technique (Rapp and Strelnikova, 2009) while MASS is a coarse dust mass spectrometer (Knappmiller et al., 2008; Amyx et al., 2008; Robertson et al., 2009, 2014). The MUDD (Multiple Dust Detector) finds the mass distribution of the collision fragments of the icy NLC particles and relates this to the mass distribution of embedded MSP (Havnes et al., 2014; Antonsen and Havnes, 2015; Antonsen et al., 2017).

In spite of the progress made with rocket instrumentation, there is a lack of high time/space resolution instruments to measure parameters such as dust size, number density and charge. In the present paper we consider the principles of the much used DUSTY impact probe (Havnes et al., 1996a) and how its performance can be improved. The DUSTY probe, the principle of which is shown in Fig.1, is equipped with three grids, G0, G1 and G2. The grid G1 prevents ambient plasma from reaching G2 and the bottom plate BP but allows dust particles to enter and collide with the grids and the BP. The potentials of the grids are given in Fig.1. The observed currents to the probe were originally used to find only the dust charge density of the ambient dust cloud, but in the present paper we will show how to extend the analysis of the DUSTY probe currents to allow it to also determine other dust parameters. The extension of the original method of analysis is based on earlier works, which have demonstrated the importance of secondary charge and secondary current production in glancing dust impacts on rocket probes and payload bodies (Havnes and Næsheim, 2007; Havnes et al., 2009; Kassa et al., 2012).

In Sec.2 we extend the earlier analysis method for the DUSTY impact probe and now use the currents to G2 and BP to find not only the dust charge density as before, but also the total dust density, the dust radius and the mean dust charge. In Sec. 3 we show the values for dust density and dust radius by this new method, used on the observations by the DUSTY probe on the payload MXD-1, which was launched on 30.06.2016 at 09:43:18 UT in the MAXIDUSTY rocket campaign. In Sec.4 we compare the DUSTY results with those from the RMR Lidar at Andøya (von Cossart et al, 1999; von Zahn et al, 2000; Baumgarten et al, 2007) and the on board MISU photometer (Gumbel et al., 2001; Hedin et al., 2008; Megner et al., 2009) and conclude the paper in Sec.5.

**2 The extended analysis of dust observations made with DUSTY type Faraday cup probes.**

The DUSTY probe (Havnes et al., 1996a; Havnes and Næsheim, 2007), the design of which is shown in Fig. 1, has grids G0, G1 and G2 and a solid bottom impact plate BP. The probe must point forward along the payload axis. The dust impact currents to G1, G2 and BP are all registered but not the current to G0, which is at the payload potential ΦP. The registered currents are *IG1, IG2* and *IBP.* The current *IG1* will not be used in the analysis. It is the grid which is most influenced by effects like payload charging and the plasma environment and as such not directly connected to the measurements of dust. G0 and G1 are made of thin cylindrical wires and they each cover only 4.6% of the opening cross section of DUSTY. G2 is made of thicker wires to increase the secondary charging effect. It covers 23.5 % of the DUSTY cross section.




Figure 1. The design of the DUSTY probe used in the MAXIDUSTY campaign. The fractional coverage of the different grids, relative to the total probe cross section, are σ0 = σ1 =0.046and σ2 =0.235.  The electric potentials of all the grids and the bottom plate are relative to the payload potential ΦP. The currents are measured on G1, G2 and BP, but not on G0.

The dust current into the probe in front of G2, is designated *ID* and is part of the expressions for the total current *IG2* measured on G2

(1)

and for *IBP* measuredon the BP.

(2)

The current to G2 is made up of which is the part of which hits G2 and deposits its charge, plus the secondary current *IS* which is produced by glancing dust impacts on G2 which rubs off electrons from it. If this last process is effective it can lead to that the total current *IG2* can become positive even if the impacting dust particles are charged negatively. The current *IBP* to the bottom plate is made up of the direct hits on to BP by the dust which was not hitting G2, and minus the secondary current *IS*. The electrons which are rubbed off from G2, producing a positive current *IS* to G2, will be deposited on BP and create a negative current -*IS* there. We can eliminate *IS* to find *ID* by

. (3)

The two upper grids G0 and G1 are made of thin wires and each cover only 4.6 % of the DUSTY cross section (Fig. 1). Many of the small negatively charged fragments produced on them by impacts will be stopped by air friction and probe internal electric fields (Antonsen et al., 2017). We therefore neglected a possible contribution of their secondary production to the currents to G2 and BP. However, they will together stop ~9.2 % of the incoming dust current from passing G0 and G1. The current *ITotal* into the probe just above G0 can be expressed as *ITotal=ID (1-σ0)-2 =1.1* x *ID* which gives us directly the observed ambient dust charge density *Σ (NZZD)* from the relationship

. (4)

Here *Rp* is the probe radius, and *e* = 1.6 x 10-19 C. The number density of dust particles with charge number *ZD* is *NZ* and the rocket velocity is *VR*. We should note that the dust charge density which can be extracted from Eq. (4) is independent of the model for secondary production of charge since this cancels in Eq. (3).

Some information on the expected size of the dust particles, and the role of secondary charge production, can be found from examining the ratio

. (5)

This ratio *R* should have values between *R =* when the secondary charging current *IS* →0, and *R=* -1for *IS* >> *ID*. In Fig.2 we show *R* and *ID* as function of altitude. It is reassuring that *R,* even though it varies significantly with altitude, stays so well within the above limits. This has been shown to be the case also in several earlier launches of the DUSTY probe (Havnes and Næsheim, 2007; Havnes et al., 2009).




Figure 2. The ratio of the currents to G2 and BP in panel a), compared to the current *ID* in panel b). The large disturbance at ~ 83.5 km altitude is caused by a squib being fired to open for another experiment on the payload. The values of *R*, at and outside the borders of the cloud, at 81.36 and 86.85 km height, are to be neglected since the dust density there is low or zero and *R* is therefore dominated by noise and uncertainties in their background level.

We see from Fig. 2a) that the ratio *R* is dominated by secondary charging effects in the middle of the NLC cloud system at ~82.5 to ~84.4 km, while at the upper edge around 86 km secondary charging is not very significant. This is in accordance with a scenario where small cloud particles normally can be expected to be found in the upper parts of the clouds (Robertson et al, 2009), from where they sink and grow, to reach maximum sizes in the middle regions of the clouds. In the lower parts, melting should lead to a reduction of the icy dust particle sizes and a release of embedded MSPs. Laboratory studies of impacts of small ice particles below a diameter ~14 nm, at impact velocities ~ 1400 m/s, indicate that the secondary production is proportional to the cross section of the impacting ice particle (Tomsic, 2001). Since the charge on a dust particle at given plasma conditions is roughly proportional to its radius, and since the cross section is proportional to the square of the radius, a significant secondary current (*R*<0) indicates large particles, while small secondary production (*R*>0) indicates small dust particles. We will later show that this is what we get for the dust size from the extended method.

The secondary charging, or the rubbing off effect by impacting dust on surfaces, is strongly dependent on the impact angle *θi*, the angle between the surface normal and the direction to the impacting particle. The impact angle *θi* will be zero for impacts at the top of a grid wire and 90 degrees for a glancing impact at the extreme side of a wire. In experiments with ice particles (Tomsic 2001) the maximum of the secondary production probably was at an impact angle *θi* ~ 80 degrees, the highest impact angle used in the experiments, or slightly above. It should be reduced to 0 at 90 deg. Little secondary charge production took place below *θi* ~ 65 to 70 deg. This means that of the dust particles impacting on the cylindrical grid wires, only a fraction will rub off electrons from the grid. Havnes and Næsheim (2007) analyzed in detail the rotational effect on the currents to the grids of a DUSTY probe, launched in the summer of 1994 (Havnes et al., 1996a). They found that a substantial secondary charge production was needed to model the payload rotational effects on the grid impact currents. The effect of secondary charging has since been mapped in several other rocket flights (Havnes et al., 2009; Kassa et al., 2012; Havnes et al., 2014; Antonsen and Havnes, 2015; Antonsen et al., 2017). One result of the analysis of the secondary impact effects of NLC particles on the main grids of DUSTY type probes, was that it had to be very much more efficient than what has been found for impact of ice particles in laboratory experiments. A probable reason for this difference is most likely connected to that pure laboratory ice particles below ca 7 nm, have a tendency to stick to the impact surface and evaporate (Tomsic, 2001). On the other hand the NLC/PMSE icy particles, containing a substantial number of embedded MSPs (Hervig et al., 2012; Havnes and Næsheim, 2007) will partly fragment on impact and MSPs which are released will not evaporate but survive to carry away “rubbed off” electrons. With a MSP volume filling factor of up to 3% in a NLC/PMSE particle (Hervig et al., 2012), even a 7 nm NLC/PMSE icy particle can contain up to 10 to 30 MSPs if the MSP sizes are in the range 0.7 to 1 nm.

The secondary production, the number of charged fragments produced by one impacting NLC/PMSE particle of radius *rd*, varies with the cross section of the impacting particle as

*ηS(rd)= ηS,ref (rd/rd,ref)2* . (6)

Havnes and Næsheim (2007) found that for a reference icy dust particle, of radius *rd,ref =* 50 nm a number of *ηS,ref*= 50 to 100 negative unit charges would be released. With 3% MSP volume filling factor (Hervig et al., 2012) this corresponds to that ~1% of the embedded MSPs become charged fragments, if we set the embedded MSP radius to 1 nm.

We can now express the secondary current *IS* by a use of Eq. (6) and a knowledge of how large fraction of the grid wires which contribute to the secondary charge production. In the modeling by Havnes and Næsheim (2007) they found that secondary charges are produced on a fraction *σ2,sec*~0.28 of the G2 grid diameter, where the total area of G2 in MXD-1 covers a fraction *σ*2 = 0.235 of the total probe cross section The probe radius is *RP* = 0.04 m. From this we can express the secondary charge current as

*IS=eNDVRAsecηS(rd) .* (7)

Here *ND* =*ΣNZ*, the total dust number density and *Asec=* *σ2,secσ2σp* is the effective area of the probe for secondary charge production. This is only ~ 7% of the total probe cross section *σp* .Theobserved secondary charge current *IS* is also found from Eqs. 1 and 2 as

*IS =(1-σ2)IG2-σ2 IBP .*  (8)

Inserting Eq. (6) in Eq. (7) we can solve Eqs. (7) and (8) for the dust radius

Fixing the values for *ηS,ref* and *rd,ref*, the only unknown parameter on the right hand side is the total dust number density *ND*. If this is also known, we can find the dust radius from Eq. (9). However, the value of *ND* is not directly available, but can be found in an iteration process which includes a charging model for the dust. One should be aware that our charging model, in which we use mono-disperse dust sizes at each height, will most likely result in the inferred (average) dust radius *rd* being larger than the true average size for a distribution of dust sizes. We will address this in more detail in the discussion.

The charging model computes the equilibrium charge distribution of the ambient dust particles. The electron density *ne* (Fig. 9) is measured by various probes on the payload. We require charge neutrality and find the ion density *ni* from

. (10)

The plasma temperature is equal to the neutral temperature and we will use a temperature of 150 K. For our equilibrium charging model we require that the rate at which dust particles of charge *Z* are given the charge number *(Z*-1*)* by an electron colliding with it and sticking to it, is equal to the rate by which dust with charge number *(Z-*1*)* are given charge number *Z* by ions colliding and sticking to it

. (11)

Here *Je(Z)* and *Ji(Z)* are the rates at which charged particles (electrons or ions) arrive at the surface of a dust particle with charge number *Z,* and stick to it. We have used the expressions for *Je* and *Ji* from Draine and Sutin (1987) which include the short range polarization forces and refer to that paper for the full expressions.

The iteration procedure to extract values for dust radius *rd* , dust total density *ND* and also the dust charge distribution *NZ* , together with other relevant parameters dependent on *rd* and *ND*, starts with a guess for the average dust charge number *Zav*. A good guess is normally *Zav*=-1*.* This will give an initial value for the total dust number density *ND* =/*Zav*. Here is the observed dust charge density found from Eq. (4). From this value of *ND* we calculate a value for the dust radius from Eq. (9). These approximations to *ND* and *rd* are now used in the charging model, together with known values for the plasma parameters, to calculate a new total dust number density and a new average dust charge number which is used to find a new value for *rd* . This process is repeatedly run through the charging code until it converges to a solution.

**3 Measurements by the DUSTY probe on MAXIDUSTY-1, analyzed with the extended method.**

We now use the observations by the DUSTY probe on MXD-1 and the new extended method to find the basic dust parameters: radius *rd*, total density *ND* and average dust charge number *Zav*  throughout the observed NLC/PMSE clouds. The electron data are taken from the results by the on board Faraday instrument (Friedrich and Rapp, 2009). In Fig. 3 we show smoothed raw currents *IG2* and *IBP* and the adopted background which will be subtracted from the raw currents to give the net currents. The curves show that the main cloud system extends from




Figure 3. The smoothed currents *IG2* and *IBP*  and the assumed background currents, are shown in panels a) and b). In the panel c) we show the *ID* currentbased on the currents *IG2* and *IBP* , corrected for background. The “event” at ~83.5 km is due to a squib being fired to open another instrument on the payload. In panel b) we have also plotted a current *10 x* *IBP* to empasize that there is a clear but weak dust structure at least spanning the altitude region from ~88.5 to ~89.9 km.

~81.3 to ~86.8 km with a clear but weak additional dust cloud layer between ~88.5 to ~89.9 km, which is also shown in Fig. 3b) multiplied by a factor of 10. We are unable to say if this consists of icy dust particles or MSP. We see in panel a) indications that a weak structure also extends below 81.3 km, possibly down to ~ 80 km. This is apparent mainly in panel a) where there is a weak *IG2* in this interval and the payload rotation effect is different above and below 80 km, possibly indicating the presence of small MSP’s in the size range up to several nm. They may have been released by melting of the larger icy particles and may be affected by the airstream around the payload and by the payload rotation.

In Fig. 4 we show the inferred values for dust radius *rd* and *ND* for three values of the secondary charge efficiency *ηS,ref* = 50, 100 and 150. The large noise signals around ~83.5 km in Figs .2 and 3, which were caused by a squib being fired, have been removed. The other 4 narrow and strong features in the middle of the cloud region (~83.3 to ~84.5 km) indicate the presence of dust layers, or “dust voids” with much larger dust sizes than just outside these layers.

In our calculations we have focused on the value *ηS,ref* = 100 and find uncertainties in *rd* and *Nd* based on changes in secondary production efficiency, as shown in Fig.4. The results are in best accordance with the Lidar results, for high values of *ηS,ref*.




Figure 4. The inferred dust radius *rd* and dust density *ND* within the main cloud for the three values of the secondary charge efficiency as given in panel a). We have applied a moderate sliding mean smoothing over 100 data points, changing the altitude resolution from 0.1 m in the observed data points, to 10 m. We have also removed the signals in the altitude region 83.5 to 83.55 km which are dominated by the strong noise from the squib firing, shown in Figs. 2 and 3.

The dust sizes just outside the narrow layers range from ~10 to ~ 40 nm for *ηS,ref* > 100. The values for *rd* in these 4 narrow layers with large dust, are probably considerably more uncertain than in most other parts of the NLC/PMSE cloud. The reason for this is that these 4 layers (voids) have a very low dust density *ND*, much lower than in the regions just outside the layers. We can see this from Figs. 2 and 3 where the current *ID* is very low within the 4 layers and therefore the dust density *ND* will also be low. This is directly evident from Fig .4, which shows both *rd* and *ND*. The narrow layers with the large increase in dust sizes *rd* also have low dust densities, where *ND*  can be down to ~ 10cm-3*.*  At such low values for the dust density, the dust radius *rd* computed by Eq. (9), can be much affected by noise fluctuations in the signals, by payload rotational effects and uncertainties in the assumed background currents. This will lead to relatively large uncertainties in *ND* and therefore also in *rd* when computed with Eq. (9). The narrow layers or voids in NLC/PMSE clouds will probably still exist (see also Havnes et al., 1996b) and contain large dust particles but their peak values may be questionable.

**4 Comparison of the extended DUSTY method results with lidar and photometer results.**

As a test on the values of *rd* and *ND* found by the extended method we compare with corresponding values found from the ALOMAR RMR Lidar observations (von Zahn et al., 2000, Baumgarten et al., 2007) and the on board MISU photometer (Gumbel et al., 2001; Hedin et al., 2008; Megner et al., 2009).

The ALOMAR RMR Lidar is a twin-Lidar system with two power lasers simultaneously emitting at 1064, 532 and 355 nm wavelengths, and with two receiving telescopes each with a 1.8 m primary mirror. The Lidar can be operated all year and under daylight conditions. During the MAXDUSTY-1 launch one beam was pointed along the predicted payload trajectory at 85 km and one in the vertical direction. In Fig. 5 we show the RMR observations close to the payload trajectory where the separation of the lidar and rocket measurements was less than 2 km. The second lidar performed measurements above the lidar station about 18 km separated from MXD-1 measurements. At both locations a double layer was observed and both layers show up and downward motion indicating small scale perturbations of the atmosphere. The size of the particles is calculated from the signal of three wavelengths assuming a distribution of needle and plate like particles of multiple sizes (Baumgarten et al., 2007). The size values given here are radii of a volume equivalent sphere, and give the mode of a Gaussian distribution of particle sizes.




Figure 5. Backscatter coefficient (532 nm) measured by the RMR-Lidar along the payload trajectory of MXD-1 (upper panel) and about 18 km to the south-east of the trajectory (lower panel). The time of the rocket penetrating through the NLC layer is marked by the vertical black line.

The Side-looking MISU NLC photometer on board the payload also detected a two-layer NLC with an altitude profile very similar to the one in Fig. 5 at the time of the rocket measurement. Comparing the angle dependence of the scattering of sunlight on the NLC particles to theoretical Mie scattering phase functions, one can find an effective optical scattering radius, *rEff* of the particles in the NLC using a mono-disperse size distribution. This method is biased towards the largest particles due to the very strong dependence of scattering on dust radius. Below the layer, measuring the entire vertical extent of the NLC, the effective radius *rEff* = 46 (±4) nm. As we ascend through the NLC, the retrieved particle radius decreases with increasing altitude and the effective optical scattering radius in the top layer is 40 (±8) nm.

The two extended layers in Fig. 5, centered on ~ 83 and ~ 85 km also coincide with two layers at the same altitudes at which layers were detected with DUSTY. For DUSTY each of the two layers are characterized by containing large dust particles of low number density. This demonstrates again the strong dependence of scattering of light on the dust radius, increasing very rapidly with size so layers of low density but containing large dust can dominate the scattering. .

In Fig. 6 we show the DUSTY results, for one set of secondary charging parameters, for dust radius *rd* , total dust number density *ND ,* and average dust charge number *Zav*. We also show RMR Lidar results for 5 minutes centered on the MXD-1 measurements (09:44:36 UT) as well as the photometer measurements. The average dust particle size indicated by the lidar measurements through the layer is 22 nm with a standard deviation of 5 nm. The average width of the Gaussian size distribution is 8 nm. In the last panel we show the RMR Lidar observations of NLC brightness for 30 seconds around 09:44:36 UT compared with two model Lidar profiles computed for dust parameters inferred from the DUSTY observations and for the assumptions that the particles are pure ice or ice contaminated with 5% FeO which is the upper limit used by Hervig et al. (2012). We find it surprising that the two cases are practically identical. The refractive index for mixture with FeO was calculated using the effective medium approximation (Garnett, 1904). We have excluded the data in the altitude region ~83.5 to ~83.7 km which were affected by the squib event.




Figure 6 The first three panels show results for *rd* , *ND* and *Zav* for an assumed value of *ηS,ref* = 100. RMR Lidar results are marked by red dots while the two blue dots at 83 and 85 km are for the MISU photometer. The last panel shows the observed Lidar altitude profile where the black curve shows model results computed based on the MAXIDUSTY data of panel 1 and 2 and the assumption of pure ice particles, and the blue curve shows results based on the assumption that the ice particles contain 5% FeO. The green shaded area indicates the measurement uncertainty.

The variations of the DUSTY results for *rd, ND* and *Zav* seem qualitatively reasonable. At the top of the cloud above ~84 km, we find the smallest dust particles with sizes *rd* generally below ~20 nm, sometimes down to a few nm. The one measurement by the Lidar in this height region is taken at the height where the dust particles in this layer have their maximum size. The Lidar and DUSTY results for the dust radius and dust number density agree very well. The MISU photometer indicate larger dust particles than DUSTY. The dust particles in this upper layer have presumably been created recently and now grow by deposition of water vapor which freezes out on their surface. They also contain embedded MSPs (Havnes and Næsheim, 2007; Hervig et al., 2012). The highest dust number density, close to 2x103 cm-3,is found in this region. In the middle of the cloud the dust sizes, outside the narrow dust voids, have increased to a maximum value of around 40 nm and number density around 102 cm-3. The Lidar and DUSTY values for the dust radius agree well at the one point, at ~ 83.3 km, but the dust number density *ND* found by DUSTY is a factor roughly ~2 to ~4 lower than the Lidar values. The dust radius becomes smaller further down into the bottom parts of the cloud with values of *rd* down to *~* 20 nm and number densities up to ~ 6x102 cm-3. The dust radius *rd* from DUSTY is roughly a factor 2 larger than the corresponding Lidar radius while the dust number density *ND* from DUSTY can be lower by a factor 10 or more.

The average dust charge number is close to *Zav* = -1 in the lower and upper parts of the cloud while in the middle part it is around *Zav* ~ -2 to -3. That the comparatively large grains in the middle part do not have larger negative charge numbers is due to a paucity of electrons which is demonstrated by the electron bite out from ~ 82 to 84 km, shown in Fig. 7. In this figure we also show the dust charge density and note that the dust particles are the dominant negative charge carriers in practically the whole extent of the cloud.




Figure 7. Electron density measured with the Faraday instrument, and the total dust charge density as observed by DUSTY, on MXD-1.

**5 Discussion and conclusion.** The extended method with its unsurpassed altitude resolution gives, in our opinion, reasonable results which compare well with the RMR Lidar and MISU photometer results (Fig. 6). It is noteworthy that the parameters for the secondary charging model in the present work have been taken from earlier modeling not aimed at finding *rd*, *ND* and *Zav* but to demonstrate that secondary charging was essential in reproducing the currents to BP and G2 and their variation with payload rotation (Havnes and Næsheim, 2007; Havnes et al., 2009; Kassa et al., 2012).

If we compare the various results in Fig.6, where DUSTY results are based on *ηS,ref* = 100, there are some significant differences between DUSTY results and the RMR Lidar or MISU photometer results. The first is that the RMR Lidar in the region at and slightly below 83 km, finds particles of half or less the size that DUSTY finds. This is probably to some degree influenced by the analysis of the DUSTY data being based on a monodisperse dust size distribution at a specific height. The mono-disperse values are related to the true dust size distribution weighted by the individual charges and also their ability to produce secondary charges. Since the dust charges in general increase with the dust size, and the secondary production is proportional to the cross section of the dust particle, an average of the weighted dust number density observed by DUSTY should normally lead to larger values for the mono-disperse dust size than for a simple average of the un-weighted true dust size distribution. The LIDAR analysis is based on the assumption of a Gaussian size distribution. The MISU photometer values are closer to the DUSTY values. Also, the Lidar total dust densities in the same altitude region are in general more than a magnitude larger than what DUSTY finds.

We should bear in mind that some of the differences may result from the Lidar and DUSTY probe sampling very different volumes. The sounding volumes are separated horizontally by about 2 km and differ in size. With an altitude resolution of 475 m and integration time of 300 sec the Lidar samples a volume of about 105 m3 while DUSTY, with some smoothing of the data, samples 0.5 m3  (5x10-4  m3 with unsmoothed data). These differences may be important taking into account small scale dynamics (Baumgarten and Fritts, 2014; Fritts et al., 2017). The time evolution shown in Fig. 5 indicates that such small scale variations were indeed likely during the time of the measurement.

For DUSTY we could lower the computed *rd* and increase the *ND* by increasing the secondary efficiency *ηS,ref* in Eq. (9) from its “accepted” values between 50 and 100. This may require that the embedded MSPs occupy an exceptionally large volume of the icy NLC/PMSE particles. However, we see from Fig. 6d that the Lidar profile, computed on the basis of the DUSTY results for a *ηS,ref* = 100 compares reasonably with the observed Lidar profile while an increase of *ηS,ref*  to 150 will lead to the computed DUSTY Lidar profile becoming very weak compared the observed one. The best fit of the model DUSTY Lidar profile to the observed results is obtained for a value of *ηS,ref*  around 70 to 80.

The values of *rd*, *ND* and *Zav* from the DUSTY data will also be affected by the electron density within the dust cloud. This can be critical if the dust density is large enough to create an electron bite-out with locally large reductions in the electron density. In such cases the dust charges can be reduced significantly compared to those that would occur if no bite-out were present. We see in Fig. 7 a significant electron bite-out with a minimum electron density of 60 cm-3 at an altitude of 83 km. At such low electron densities the Faraday method to determine the electron density is uncertain. We examine the consequences of reducing the electron density within the bite-out compared to the Faraday results shown in Fig. 7. Arbitrarily reducing the electron density by a factor of 10 will lead to a reduction of *rd* by a factor of ~2 and an increase in *ND* by a factor of ~3 within the bite-out.

The charge model we have used does not include the photodetachment effect (Havnes and Kassa, 2009; Rapp, 2009) and it does not include any photoelectric effect. Inclusion of a photodetachment effect will have some – but not serious - effect on dust particles less than ~5 nm. It will lead to a moderate increase in dust number density and a decrease of the dust radius. In our model, using values of the photodetachment effect taken from Havnes and Kassa (2009), we get a moderate reduction of the dust radius *rd* in the altitude region above ~ 85.5 km.

Another uncertainty, caused by the design of the DUSTY probe, is that small dust particles (less than *~* 2 nm at an altitude ~ 85 km), which may be carrying a non-negligible part of the charge density, will be swept away from the probe by the airstream around the payload and its probes (Horányi et al., 1999; Hedin et al., 2007). Observations by the MASS instrument (Robertson et al., 2009, 2014; Knappmiller, 2008) indicate that considerable amounts of small charged dust particles, possibly MSP, have a tendency to be present in the upper layers of NLC/PMSE clouds, together with larger NLC/PMSE cloud particles. We cannot exclude that this is also the case for the clouds observed by MXD-1. To evaluate the consequences of small charged particles potentially not being registered by DUSTY we will need a charging model with more than one dust size. Such models should also improve the comparison to lidar measurements, as these take the effect of different sizes into account and show that the ensemble of particles often has a width of the size distribution of about half the mode radius (Baumgarten et al., 2010).

We find that the development of the new extended method to analyze the DUSTY measurements, has given this probe a power which is astounding considering its simplicity. It can in principle be used to measure the radius, total number density, charge density and charge of icy and non-icy dust particles– with an unsurpassed altitude resolution down to 10 cm or smaller scales if the plasma probes on the payload have the same or better height resolution. This will also open up for a mapping of the distribution of dust size, dust density and dust charges within small scale dust structures (Havnes et al., 1996b). To achieve the best foundation for the extended method and future use of DUSTY-like probes, we plan to refine the analysis with a more complete charging model and to map the effects of changes in the various parameters involved in the method. A comparison with the RMR lidar and MISU photometer observations during the MXD-1 flight will continue to be essential in refining the method. This may also lead to a fine-tuning of the construction of the DUSTY probe for which the basic structure should be retained though modifications of G2 might be advantageous. For future campaigns we intend to improve the collocation of the measurement volumes and use the high resolution DUSTY measurements to derive the actual size distribution within the lidar sounding volume.

**Author contribution.**

OH, AB, TA and TWH extended the theory for analyzing the rocket data. OH and TA analyzed the rocket data. GB collected and analyzed the Lidar data. TA and ÅF tested rocket instruments. MF analyzed the Faraday data and provided the electron density data. JH collected the photometer data and analyzed them. OH prepared the manuscript with contributions from all co-authors.

**Acknowledgements and Data**

The rocket campaign and the construction of the rocket instrumentation was supported by grants from the Norwegian Space Centre (VIT.04.14.7; VIT.02.14.1; VIT.03.15.7; VIT.03.16.7**)**, the Research Council of Norway (240065) and by the Arctic University of Norway.

Replication data is available through the UiT Open Research Repository at <https://doi.org/10.18710/LEMXBU>

The authors declare that they have no conflict of interest.

**References**

Amyx, K., Sternovsky, Z., Knappmiller, S., Robertson, S., Horányi, M., and Gumbel, J.: In-situ measurement of smoke particles in the wintertime polar mesosphere between 80 and 85 km altitude,J. Atmos.Solar-Terrestrial Physics, **70**, 61-70, 2008.

Antonsen, T. and Havnes, O.: On the detection of mesospheric meteoric smoke particles embedded in noctilucent cloud particles with rocket-borne dust probes

Review of Scientific Instruments, **86**, 033305; doi: 10.1063/1.4914394, 2015.

Antonsen, T., Havnes, O., and Mann, I.: Estimates of the Size Distribution of Meteoric Smoke Particles From Rocket-Borne Impact Probes, J. Geophys.Res, **122**, 12353-12365, DOI: 10.1002/2017JD027220 , 2017. JOURNAL OF GEOPHYSICAL RESEARCH-ATMOSPHERES Hide journal informationImpact Factor

H. Asmus, S. Robertson, S. Dickson, M. Friedrich, L. Megner.: Charge balance for the mesosphere with meteoric dust particles, J. Atmos.Solar-Terrestrial Physics., **127**, 137-149, <http://dx.doi.org/10.1016/j.jastp.2014.07.010>, 2015.

Backhouse, T.W.: The luminous cirrus cloud of June and July. Meteorological Mag. **20**, 133, 1885.

Baumgarten, G., Fiedler, J ., and von Cossart, G.: The size of noctilucent cloud particles above ALOMAR (69N, 16E): Optical modeling and method description, Adv. Space Res*.,* **40**, 772-784, 2007.

Baumgarten, G., Fiedler, J ., and Rapp, M.: On microphysical processes of noctilucent clouds (NLC): Observations and modeling of mean and width of the particle size-distribution, Atmos. Chem. Phys., 10, 6661-6668, 2010.

Baumgarten G. and Fritts, D.C .: Quantifying Kelvin-Helmholtz instability dynamics observed in Noctilucent Clouds: 1. methods and observations, J. Geophys. Res., 119, 9324-9337, doi:10.1002/2014JD021832, 2014.

Carrillo-Sánchez, J,D ., Nesvorný, D., Pokorný, P., Janches, D., and Plane, J. M. C. : Sources of cosmic dust in the Earth’s atmosphere, Geophys. Res. Lett., 43, 11,979–11,986, doi:10.1002/ 2016GL071697, 2016.

Czechowsky, P., Rüster, R., and Schmidt, G.: Variations of mesospheric structures in different seasons, Geophys.Res.Lett*.,* **6***,* 459-462, 1979.

DeLand, M. T., Shettle, E. P., Thomas, G. E., and Olivero, J. J.: Latitude-dependent long-term variations in polar mesospheric clouds from SBUV version 3 PMC data, J. Geophys. Res.,**112**, D10315, doi:10.1029/2006JD007857, 2007.

Draine, B.T. and Sutin, B.: Collisional charging of interstellar grains. The Astrophys. Journal. **320**, 803-817, 1987.

Friedrich, M. Rapp, M.: News from the Lower Ionosphere: A Review of Recent Developments. Surv Geophys **30**, 525–559. DOI 10.1007/s10712-009-9074-2, 2009.

Fritts, D. C., Wang, L., Baumgarten, G., Miller, A.D., Geller, M.A., Jones, G., Limon, M. Chapman, D., Didier, J., Kjellstrand, C.B., Araujo, D., Hillbrand, S., Korotkov, A., Tucker, G., and Vinokurov, J.: High-resolution observations and modeling of turbulence sources, structures, and intensities in the upper mesosphere, J. Atmos. Solar-Terr. Phys., 162, 57-78, doi:10.1016/j.jastp.2016.11.006, 2017.

Gadsden, M. and Schröder, W.: Noctilucent Clouds, Springer-Verlag, New York, 1989.

Garnett, J.C.M.: Colours in metal glasses and in metallic films. Philosophical Transactions of the Royal Society A203, 385–420, 1904.

Gumbel, J., Stegman, J., Murtagh, D.P and Witt,G .: Scattering phase functions and particle sizes in noctilucent clouds, Geophys. Res. Lett*.,* **28**, 1415-1418, 2001.

Havnes, O., Trøim, J., Blix, T., Mortensen, W., Næsheim, L. I., Thrane, E., and Tønnesen, T.: First detection of charged dust particles in the Earth's mesosphere, J. Geophys. Res*.,* **101,** 10 839-10 847, 1996a.

Havnes,O., Næsheim, L.I., Hartquist, T.W., Morfill, G.E., Melandsø, F., Schleicher,B., Trøim, J., Blix, T., Thrane, E.: Meter-scale variations of the charge carried by mesospheric dust. Planet. Space Sci*.,* **44(10)**, pp. 1191-1194, 1996b.

Havnes,O., Næsheim, L.I.: On the secondary charging effects and structure of mesospheric dust particles impacting on rocket probes. Ann.Geophys, **25**, 623-637, 2007.

Havnes, O. and Kassa, M.: On the sizes and observable effects of dust particles in polar mesospheric winter echoes, J. Geophys. Res., 114, D09209, doi:10.1029/2008JD011276. 2009.

Havnes, O., Surdal, L.H., Philbrick, C.R.: Mesospheric dust and its secondary effects as observed by the ESPRIT payload. Ann. Geophys., **27**, 1–10, 2009.

Havnes, O., Gumbel, J., Antonsen, T, Hedin, J., LaHoz, C.: On the size distribution of collision fragments of NLC dust particles and their relevance to meteoric smokeparticles, J. Atmos. Solar-Terr. Phys.**118**, 190–198 , <http://dx.doi.org/10.1016/j.jastp.2014.03.008> , 2014.

Hedin, J., Gumbel, J., and Rapp, M.: On the efficiency of rocket-borne particle detection in the mesosphere, Atmos. Chem. Phys., **7**, 3701-3711, 2007.

Hedin, J., Gumbel, J., Khaplanov, M., Witt, G., and Stegman, J.: Optical studies of noctilucent clouds in the extreme ultraviolet, Ann. Geophys., 26, 1–11, 2008.

Hervig, M.E., Gordley, L.L., Deaver, L.E., Siskind, D.E., Stevens, M.H., Russell III, J.M., Bailey, S.M., Megner, L., and Bardeen, C.G.: First satellite observations of meteoric smoke in the middle atmosphere, Geophys. Res. Lett., http://dx.doi. org/10.1029/2009GL039737, 2009.

Hervig,M.E., Deaver,L.E., Bardeen,C.G., Russel III, J.M., Bailey,S.M., and Gordley,L.L.: The content and composition of meteoric smoke in mesospheric ice particles from SOFIE observations. J.Atmos.Sol.Terr.Phys.**84–85**, 1–6, 2012.

Hervig, M.E., [Bardeen, CG](http://apps.webofknowledge.com/DaisyOneClickSearch.do?product=WOS&search_mode=DaisyOneClickSearch&colName=WOS&SID=C3kQ1ZhoDaZjWHRIFgw&author_name=Bardeen,%20CG&dais_id=6477820&excludeEventConfig=ExcludeIfFromFullRecPage)., [Siskind, DE](http://apps.webofknowledge.com/DaisyOneClickSearch.do?product=WOS&search_mode=DaisyOneClickSearch&colName=WOS&SID=C3kQ1ZhoDaZjWHRIFgw&author_name=Siskind,%20DE&dais_id=1000116786&excludeEventConfig=ExcludeIfFromFullRecPage)., [Mills, MJ](http://apps.webofknowledge.com/DaisyOneClickSearch.do?product=WOS&search_mode=DaisyOneClickSearch&colName=WOS&SID=C3kQ1ZhoDaZjWHRIFgw&author_name=Mills,%20MJ&dais_id=1000348310&excludeEventConfig=ExcludeIfFromFullRecPage)., and [Stockwell, R](http://apps.webofknowledge.com/DaisyOneClickSearch.do?product=WOS&search_mode=DaisyOneClickSearch&colName=WOS&SID=C3kQ1ZhoDaZjWHRIFgw&author_name=Stockwell,%20R&dais_id=36323386&excludeEventConfig=ExcludeIfFromFullRecPage).: Meteoric smoke and H2SO4 aerosols in the upper stratosphere and mesosphere. Geophys. Res.Lett., **44**, 2, 1150-1157**;** DOI: 10.1002/2016GL072049, 2017.

Horányi, M., Gumbel, J., Witt, G., and Robertson, S.: Simulation of rocket-borne particle measurements in the mesosphere, Geophys. Res. Lett*.* **26***,* 1537-1540, 1999.

Hunten, D. M., Turco, R. P., and Toon, O. B.: Smoke and dust particles of meteoric origin in the mesosphere and stratosphere, J. Atmos. Sci*.,* **37**, 1342-1357, 1980.

Höffner, J. and Lautenbach, J.: Daylight measurements of mesopause temperature and vertical wind with the mobile scanning iron lidar, Opt. Lett., 34, 1351–1353, 2009.

Huang W., Chu X., Gardner C. S., Carrillo‐Sánchez J. D., Feng W., Plane J. M. C., and Nesvorný D.: Measurements of the vertical fluxes of atomic Fe and Na at the mesopause: Implications for the velocity of cosmic dust entering the atmosphere, Geophys. Res. Lett., **42**, 169–175, doi:10.1002/2014GL062390, 2015.

Jesse, O.: Auffallende Abenderscheinungen am Himmel, Meteorol. Z., **2**, 311–312, 1885.

Kassa, M., Rapp, M., Hartquist, T.W., and Havnes, O.: Secondary charging effects due to icy dust particle impacts on rocket payloads.Ann. Geophys., **30**, 433–439, [www.ann-geophys.net/30/433/2012/doi:10.5194/angeo-30-433-2012](http://www.ann-geophys.net/30/433/2012/doi:10.5194/angeo-30-433-2012) , 2012.

Knappmiller, S., Robertson, S., Sternovsky, Z., and Friedrich, M.: A Rocket-Borne Mass Analyzer for Charged Aerosol Particles in the Mesosphere, Rev. Sci. Instr. **79 (10)** doi:104502, 2008.

Latteck, R. and Strelnikova, I.: Extended observations of polar mesospheric winter echoes over Andøya (69o) using MAARSY. J. Geophys.Res. (Atmospheres)*.,* **120***,* 8216-8225, doi:10.1002/2015JD023291, 2015.

Lübken, F.-J., Berger, U., and Baumgarten, G.: On the anthropogenic impact on long-term evolution of noctilucent clouds. Geophysical Research Letters, 45, 6681–6689. <https://doi.org/10.1029/2018GL077719>, 2018.

Megner, L., Khaplanov,M., Baumgarten, G., Gumbel, J., Stegman, J., Strelnikov, B., and Robertson, S.: Large mesospheric ice particles at exceptionally high altitudes, Ann. Geophys., **27**, 943-951, 2009.

Ogurtsov, M.G. and Raspopov, O.M.: Possible impact of interplanetary and interstellardust fluxes on the Earth's climate, Geomag.Aeron.**51**, 275–283, 2011.

Plane, J. M. C.: Cosmic dust in the Earth’s atmosphere, Chem. Soc. Rev. **41 (19),** 6507 – 6518, 2012.

Rapp, M.: Charging of mesospheric aerosol particles: the role of photodetachment and photoionization from mesospheric smoke and ice particles. Ann.Geophys*.,* **27**, 2417-2422, 2009.

Rapp, M. and Strelnikova, I.: Measurements of meteor smoke particles during the ECOMA-2006 campaign; 1. Particle detection by active photoionization, J. Atmos. Solar-TerrestrialPhys*,***71**, 477-485, 2009.

Rapp, M and Thomas, G.E.: Modeling the microphysics of mesospheric ice particles: Assessment of current capabilities and basic sensitivities, J. Atmos. Solar-Terrestrial Phys*.* **68**, 715-744, 2006.

Reddmann, T., Funke, B., Konopka, P., Stiller, G., Versick, S., and Vogel, B.: In Climate and Weather of the Sun-Earth System (CAWSES), Ed. F.-J. Lübken. 247-273. Springer Atmospheric Sciences. Dordrecht. DOI 10.1007/978-94-007-4348-9\_15, 2013.

Robertson, S., Horányi, M., Knappmiller, S., Sternovsky, Z., Holzworth, R., Shimogawa, M., Friedrich, M., Torkar, K., Gumbel, J., Megner, L., Baumgarten, G., Latteck, R., Rapp, M., Hoppe, U.-P., and Hervig, M. E.: Mass analysis of charged aerosol particles in NLC and PMSE during the ECOMA/MASS campaign, Ann. Geophys., **27**, 1213-1232, https://doi.org/10.5194/angeo-27-1213-2009, 2009.

Robertson, S., Dickson, S., Horányi, M., Sternovsky, Z., Friedrich, M., Janches, D., Megner, L., and Williams, B.: Detection of meteoric smoke particles in the mesosphere by a rocket-borne mass spectrometer, J. Atmos. Solar-Terr. Phys. **118**, pp. 161–179, 2014.

Rosinski, J. and Snow, R. H.: Secondary particulate matter from meteor vapors, J. Met*.* **18**, 736-745, 1961.

Symons, G.J. (ed).: The Eruption of Krakatoa and Subsequent Phenomena (Report of the Krakatoa Committee of the Royal Society) London, 1888.

Thomas, G.: Is the polar mesosphere the miner’s canary of global change?, Advances in Space Research, 18, 149 – 158, doi:10.1016/0273-1177(95)00855-9, 1996.

Tomsic, A.: Collisions between water clusters and surfaces, Ph.D thesis, Gothenburg University, 2001.

Turco, R., Toon, O., Whitten, R., Keesee, R., and Hollenbach, D.: Noctilucent clouds: Simulation studies of their genesis, properties and global influences, Planetary and Space Science, 30, 1147 – 1181, doi:10.1016/0032-0633(82)90126-X, 1982.

von Cossart, G., Fiedler, J., and von Zahn, U.: Size distributions of NLC particles as determined from 3-color observations of NLC by ground-based lidar, Geophys. Res. Letter. **26**, 1513-1516, 1999.

von Zahn, U., von Cossart, G., Fiedler, J., Fricke, K. H., Nelke, G., Baumgarten, G., Rees, D., Hauchecorne, A., and Adolfsen, K.: The ALOMAR Rayleigh/Mie/Raman lidar: objectives, configuration, and performance, Ann. Geophys., **18**, 815-833, https://doi.org/10.1007/s00585-000-0815-2, 2000.

Zeller, O., Zecha, M., Bremer, J., Latteck,R., and Singer, W.: Mean characteristics of mesospheric winter echoes at mid- and high-latitudes, J. Atmos. Sol. Terr. Phys, **68 (10),** 1087-1104, doi:10.10.1016/j.jastp.2006.02.015, 2006.